## MeasureFluorescence_dataset_0
container | location | MeasureFluorescence.measurements.607 | emissionBandpassWidth | excitationWavelength | emissionWavelength
calibration plate | A1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer

## MeasureFluorescence_data_1
container | location | MeasureFluorescence.measurements.607
calibration plate | A1
A2
A3
A4
A5
A6
A7
A8
A9
A10
A11
A12
B1
B2
B3
B4
B5
B6
B7
B8
B9
B10
B11
B12
C1
C2
C3
C4
C5
C6
C7
C8
C9
C10
C11
C12
D1
D2
D3
D4
D5
D6
D7
D8
D9
D10
D11
D12

## MeasureAbsorbance_dataset_2
container | location | MeasureAbsorbance.measurements.916 | wavelength
calibration plate | E1 |  | 600.0 nanometer
| E2 |  | 600.0 nanometer
| E3 |  | 600.0 nanometer
| E4 |  | 600.0 nanometer
| E5 |  | 600.0 nanometer
| E6 |  | 600.0 nanometer
| E7 |  | 600.0 nanometer
| E8 |  | 600.0 nanometer
| E9 |  | 600.0 nanometer
| E10 |  | 600.0 nanometer
| E11 |  | 600.0 nanometer
| E12 |  | 600.0 nanometer
| F1 |  | 600.0 nanometer
| F2 |  | 600.0 nanometer
| F3 |  | 600.0 nanometer
| F4 |  | 600.0 nanometer
| F5 |  | 600.0 nanometer
| F6 |  | 600.0 nanometer
| F7 |  | 600.0 nanometer
| F8 |  | 600.0 nanometer
| F9 |  | 600.0 nanometer
| F10 |  | 600.0 nanometer
| F11 |  | 600.0 nanometer
| F12 |  | 600.0 nanometer
| G1 |  | 600.0 nanometer
| G2 |  | 600.0 nanometer
| G3 |  | 600.0 nanometer
| G4 |  | 600.0 nanometer
| G5 |  | 600.0 nanometer
| G6 |  | 600.0 nanometer
| G7 |  | 600.0 nanometer
| G8 |  | 600.0 nanometer
| G9 |  | 600.0 nanometer
| G10 |  | 600.0 nanometer
| G11 |  | 600.0 nanometer
| G12 |  | 600.0 nanometer
| H1 |  | 600.0 nanometer
| H2 |  | 600.0 nanometer
| H3 |  | 600.0 nanometer
| H4 |  | 600.0 nanometer
| H5 |  | 600.0 nanometer
| H6 |  | 600.0 nanometer
| H7 |  | 600.0 nanometer
| H8 |  | 600.0 nanometer
| H9 |  | 600.0 nanometer
| H10 |  | 600.0 nanometer
| H11 |  | 600.0 nanometer
| H12 |  | 600.0 nanometer

## MeasureAbsorbance_data_3
container | location | MeasureAbsorbance.measurements.916
calibration plate | E1
E2
E3
E4
E5
E6
E7
E8
E9
E10
E11
E12
F1
F2
F3
F4
F5
F6
F7
F8
F9
F10
F11
F12
G1
G2
G3
G4
G5
G6
G7
G8
G9
G10
G11
G12
H1
H2
H3
H4
H5
H6
H7
H8
H9
H10
H11
H12

## JoinMetadata_dataset_4
| container | location | MeasureFluorescence.measurements.607 | emissionBandpassWidth | emissionWavelength | excitationWavelength | Water, sterile-filtered, BioReagent, suitable for cell culture | Fluorescein | Phosphate Buffered Saline | NanoCym 950 nm monodisperse silica nanoparticles | sample_location
0 | calibration plate | A1 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.37486 | 199.6251 |  | sample_calibration plate_360
1 | calibration plate | A2 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.18743 | 199.8126 |  | sample_calibration plate_364
2 | calibration plate | A3 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.093716 | 199.9063 |  | sample_calibration plate_365
3 | calibration plate | A4 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.046858 | 199.9531 |  | sample_calibration plate_366
4 | calibration plate | A5 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.023429 | 199.9766 |  | sample_calibration plate_367
5 | calibration plate | A6 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.011714 | 199.9883 |  | sample_calibration plate_368
6 | calibration plate | A7 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.0058572 | 199.9941 |  | sample_calibration plate_369
7 | calibration plate | A8 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.0029286 | 199.9971 |  | sample_calibration plate_370
8 | calibration plate | A9 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.0014643 | 199.9985 |  | sample_calibration plate_371
9 | calibration plate | A10 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.00073215 | 199.9993 |  | sample_calibration plate_361
10 | calibration plate | A11 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.00036608 | 199.9996 |  | sample_calibration plate_362
11 | calibration plate | A12 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  |  | 200 |  | sample_calibration plate_363
12 | calibration plate | B1 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.37486 | 199.6251 |  | sample_calibration plate_372
13 | calibration plate | B2 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.18743 | 199.8126 |  | sample_calibration plate_376
14 | calibration plate | B3 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.093716 | 199.9063 |  | sample_calibration plate_377
15 | calibration plate | B4 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.046858 | 199.9531 |  | sample_calibration plate_378
16 | calibration plate | B5 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.023429 | 199.9766 |  | sample_calibration plate_379
17 | calibration plate | B6 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.011714 | 199.9883 |  | sample_calibration plate_380
18 | calibration plate | B7 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.0058572 | 199.9941 |  | sample_calibration plate_381
19 | calibration plate | B8 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.0029286 | 199.9971 |  | sample_calibration plate_382
20 | calibration plate | B9 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.0014643 | 199.9985 |  | sample_calibration plate_383
21 | calibration plate | B10 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.00073215 | 199.9993 |  | sample_calibration plate_373
22 | calibration plate | B11 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.00036608 | 199.9996 |  | sample_calibration plate_374
23 | calibration plate | B12 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  |  | 200 |  | sample_calibration plate_375
24 | calibration plate | C1 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.37486 | 199.6251 |  | sample_calibration plate_384
25 | calibration plate | C2 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.18743 | 199.8126 |  | sample_calibration plate_388
26 | calibration plate | C3 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.093716 | 199.9063 |  | sample_calibration plate_389
27 | calibration plate | C4 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.046858 | 199.9531 |  | sample_calibration plate_390
28 | calibration plate | C5 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.023429 | 199.9766 |  | sample_calibration plate_391
29 | calibration plate | C6 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.011714 | 199.9883 |  | sample_calibration plate_392
30 | calibration plate | C7 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.0058572 | 199.9941 |  | sample_calibration plate_393
31 | calibration plate | C8 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.0029286 | 199.9971 |  | sample_calibration plate_394
32 | calibration plate | C9 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.0014643 | 199.9985 |  | sample_calibration plate_395
33 | calibration plate | C10 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.00073215 | 199.9993 |  | sample_calibration plate_385
34 | calibration plate | C11 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.00036608 | 199.9996 |  | sample_calibration plate_386
35 | calibration plate | C12 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  |  | 200 |  | sample_calibration plate_387
36 | calibration plate | D1 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.37486 | 199.6251 |  | sample_calibration plate_396
37 | calibration plate | D2 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.18743 | 199.8126 |  | sample_calibration plate_400
38 | calibration plate | D3 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.093716 | 199.9063 |  | sample_calibration plate_401
39 | calibration plate | D4 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.046858 | 199.9531 |  | sample_calibration plate_402
40 | calibration plate | D5 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.023429 | 199.9766 |  | sample_calibration plate_403
41 | calibration plate | D6 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.011714 | 199.9883 |  | sample_calibration plate_404
42 | calibration plate | D7 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.0058572 | 199.9941 |  | sample_calibration plate_405
43 | calibration plate | D8 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.0029286 | 199.9971 |  | sample_calibration plate_406
44 | calibration plate | D9 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.0014643 | 199.9985 |  | sample_calibration plate_407
45 | calibration plate | D10 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.00073215 | 199.9993 |  | sample_calibration plate_397
46 | calibration plate | D11 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | 0.00036608 | 199.9996 |  | sample_calibration plate_398
47 | calibration plate | D12 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  |  | 200 |  | sample_calibration plate_399
48 | calibration plate | E1 |  | nan | nan | nan | 199.9161 |  |  | 0.083929 | sample_calibration plate_408
49 | calibration plate | E2 |  | nan | nan | nan | 199.958 |  |  | 0.041965 | sample_calibration plate_412
50 | calibration plate | E3 |  | nan | nan | nan | 199.979 |  |  | 0.020982 | sample_calibration plate_413
51 | calibration plate | E4 |  | nan | nan | nan | 199.9895 |  |  | 0.010491 | sample_calibration plate_414
52 | calibration plate | E5 |  | nan | nan | nan | 199.9948 |  |  | 0.0052456 | sample_calibration plate_415
53 | calibration plate | E6 |  | nan | nan | nan | 199.9974 |  |  | 0.0026228 | sample_calibration plate_416
54 | calibration plate | E7 |  | nan | nan | nan | 199.9987 |  |  | 0.0013114 | sample_calibration plate_417
55 | calibration plate | E8 |  | nan | nan | nan | 199.9993 |  |  | 0.0006557 | sample_calibration plate_418
56 | calibration plate | E9 |  | nan | nan | nan | 199.9997 |  |  | 0.00032785 | sample_calibration plate_419
57 | calibration plate | E10 |  | nan | nan | nan | 199.9998 |  |  | 0.00016392 | sample_calibration plate_409
58 | calibration plate | E11 |  | nan | nan | nan | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_410
59 | calibration plate | E12 |  | nan | nan | nan | 200 |  |  |  | sample_calibration plate_411
60 | calibration plate | F1 |  | nan | nan | nan | 199.9161 |  |  | 0.083929 | sample_calibration plate_420
61 | calibration plate | F2 |  | nan | nan | nan | 199.958 |  |  | 0.041965 | sample_calibration plate_424
62 | calibration plate | F3 |  | nan | nan | nan | 199.979 |  |  | 0.020982 | sample_calibration plate_425
63 | calibration plate | F4 |  | nan | nan | nan | 199.9895 |  |  | 0.010491 | sample_calibration plate_426
64 | calibration plate | F5 |  | nan | nan | nan | 199.9948 |  |  | 0.0052456 | sample_calibration plate_427
65 | calibration plate | F6 |  | nan | nan | nan | 199.9974 |  |  | 0.0026228 | sample_calibration plate_428
66 | calibration plate | F7 |  | nan | nan | nan | 199.9987 |  |  | 0.0013114 | sample_calibration plate_429
67 | calibration plate | F8 |  | nan | nan | nan | 199.9993 |  |  | 0.0006557 | sample_calibration plate_430
68 | calibration plate | F9 |  | nan | nan | nan | 199.9997 |  |  | 0.00032785 | sample_calibration plate_431
69 | calibration plate | F10 |  | nan | nan | nan | 199.9998 |  |  | 0.00016392 | sample_calibration plate_421
70 | calibration plate | F11 |  | nan | nan | nan | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_422
71 | calibration plate | F12 |  | nan | nan | nan | 200 |  |  |  | sample_calibration plate_423
72 | calibration plate | G1 |  | nan | nan | nan | 199.9161 |  |  | 0.083929 | sample_calibration plate_432
73 | calibration plate | G2 |  | nan | nan | nan | 199.958 |  |  | 0.041965 | sample_calibration plate_436
74 | calibration plate | G3 |  | nan | nan | nan | 199.979 |  |  | 0.020982 | sample_calibration plate_437
75 | calibration plate | G4 |  | nan | nan | nan | 199.9895 |  |  | 0.010491 | sample_calibration plate_438
76 | calibration plate | G5 |  | nan | nan | nan | 199.9948 |  |  | 0.0052456 | sample_calibration plate_439
77 | calibration plate | G6 |  | nan | nan | nan | 199.9974 |  |  | 0.0026228 | sample_calibration plate_440
78 | calibration plate | G7 |  | nan | nan | nan | 199.9987 |  |  | 0.0013114 | sample_calibration plate_441
79 | calibration plate | G8 |  | nan | nan | nan | 199.9993 |  |  | 0.0006557 | sample_calibration plate_442
80 | calibration plate | G9 |  | nan | nan | nan | 199.9997 |  |  | 0.00032785 | sample_calibration plate_443
81 | calibration plate | G10 |  | nan | nan | nan | 199.9998 |  |  | 0.00016392 | sample_calibration plate_433
82 | calibration plate | G11 |  | nan | nan | nan | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_434
83 | calibration plate | G12 |  | nan | nan | nan | 200 |  |  |  | sample_calibration plate_435
84 | calibration plate | H1 |  | nan | nan | nan | 199.9161 |  |  | 0.083929 | sample_calibration plate_444
85 | calibration plate | H2 |  | nan | nan | nan | 199.958 |  |  | 0.041965 | sample_calibration plate_448
86 | calibration plate | H3 |  | nan | nan | nan | 199.979 |  |  | 0.020982 | sample_calibration plate_449
87 | calibration plate | H4 |  | nan | nan | nan | 199.9895 |  |  | 0.010491 | sample_calibration plate_450
88 | calibration plate | H5 |  | nan | nan | nan | 199.9948 |  |  | 0.0052456 | sample_calibration plate_451
89 | calibration plate | H6 |  | nan | nan | nan | 199.9974 |  |  | 0.0026228 | sample_calibration plate_452
90 | calibration plate | H7 |  | nan | nan | nan | 199.9987 |  |  | 0.0013114 | sample_calibration plate_453
91 | calibration plate | H8 |  | nan | nan | nan | 199.9993 |  |  | 0.0006557 | sample_calibration plate_454
92 | calibration plate | H9 |  | nan | nan | nan | 199.9997 |  |  | 0.00032785 | sample_calibration plate_455
93 | calibration plate | H10 |  | nan | nan | nan | 199.9998 |  |  | 0.00016392 | sample_calibration plate_445
94 | calibration plate | H11 |  | nan | nan | nan | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_446
95 | calibration plate | H12 |  | nan | nan | nan | 200 |  |  |  | sample_calibration plate_447

## JoinMetadata_dataset_5
| container | location | MeasureAbsorbance.measurements.916 | wavelength | Water, sterile-filtered, BioReagent, suitable for cell culture | Fluorescein | Phosphate Buffered Saline | NanoCym 950 nm monodisperse silica nanoparticles | sample_location
0 | calibration plate | A1 |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_360
1 | calibration plate | A2 |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_364
2 | calibration plate | A3 |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_365
3 | calibration plate | A4 |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_366
4 | calibration plate | A5 |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_367
5 | calibration plate | A6 |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_368
6 | calibration plate | A7 |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_369
7 | calibration plate | A8 |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_370
8 | calibration plate | A9 |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_371
9 | calibration plate | A10 |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_361
10 | calibration plate | A11 |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_362
11 | calibration plate | A12 |  | nan |  |  | 200 |  | sample_calibration plate_363
12 | calibration plate | B1 |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_372
13 | calibration plate | B2 |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_376
14 | calibration plate | B3 |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_377
15 | calibration plate | B4 |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_378
16 | calibration plate | B5 |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_379
17 | calibration plate | B6 |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_380
18 | calibration plate | B7 |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_381
19 | calibration plate | B8 |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_382
20 | calibration plate | B9 |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_383
21 | calibration plate | B10 |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_373
22 | calibration plate | B11 |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_374
23 | calibration plate | B12 |  | nan |  |  | 200 |  | sample_calibration plate_375
24 | calibration plate | C1 |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_384
25 | calibration plate | C2 |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_388
26 | calibration plate | C3 |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_389
27 | calibration plate | C4 |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_390
28 | calibration plate | C5 |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_391
29 | calibration plate | C6 |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_392
30 | calibration plate | C7 |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_393
31 | calibration plate | C8 |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_394
32 | calibration plate | C9 |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_395
33 | calibration plate | C10 |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_385
34 | calibration plate | C11 |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_386
35 | calibration plate | C12 |  | nan |  |  | 200 |  | sample_calibration plate_387
36 | calibration plate | D1 |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_396
37 | calibration plate | D2 |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_400
38 | calibration plate | D3 |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_401
39 | calibration plate | D4 |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_402
40 | calibration plate | D5 |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_403
41 | calibration plate | D6 |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_404
42 | calibration plate | D7 |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_405
43 | calibration plate | D8 |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_406
44 | calibration plate | D9 |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_407
45 | calibration plate | D10 |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_397
46 | calibration plate | D11 |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_398
47 | calibration plate | D12 |  | nan |  |  | 200 |  | sample_calibration plate_399
48 | calibration plate | E1 |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_408
49 | calibration plate | E2 |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_412
50 | calibration plate | E3 |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_413
51 | calibration plate | E4 |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_414
52 | calibration plate | E5 |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_415
53 | calibration plate | E6 |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_416
54 | calibration plate | E7 |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_417
55 | calibration plate | E8 |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_418
56 | calibration plate | E9 |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_419
57 | calibration plate | E10 |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_409
58 | calibration plate | E11 |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_410
59 | calibration plate | E12 |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_411
60 | calibration plate | F1 |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_420
61 | calibration plate | F2 |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_424
62 | calibration plate | F3 |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_425
63 | calibration plate | F4 |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_426
64 | calibration plate | F5 |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_427
65 | calibration plate | F6 |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_428
66 | calibration plate | F7 |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_429
67 | calibration plate | F8 |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_430
68 | calibration plate | F9 |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_431
69 | calibration plate | F10 |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_421
70 | calibration plate | F11 |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_422
71 | calibration plate | F12 |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_423
72 | calibration plate | G1 |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_432
73 | calibration plate | G2 |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_436
74 | calibration plate | G3 |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_437
75 | calibration plate | G4 |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_438
76 | calibration plate | G5 |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_439
77 | calibration plate | G6 |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_440
78 | calibration plate | G7 |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_441
79 | calibration plate | G8 |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_442
80 | calibration plate | G9 |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_443
81 | calibration plate | G10 |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_433
82 | calibration plate | G11 |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_434
83 | calibration plate | G12 |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_435
84 | calibration plate | H1 |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_444
85 | calibration plate | H2 |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_448
86 | calibration plate | H3 |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_449
87 | calibration plate | H4 |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_450
88 | calibration plate | H5 |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_451
89 | calibration plate | H6 |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_452
90 | calibration plate | H7 |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_453
91 | calibration plate | H8 |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_454
92 | calibration plate | H9 |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_455
93 | calibration plate | H10 |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_445
94 | calibration plate | H11 |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_446
95 | calibration plate | H12 |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_447

## JoinDatasets_dataset_6
| container | location | MeasureFluorescence.measurements.607 | emissionBandpassWidth | emissionWavelength | excitationWavelength | MeasureAbsorbance.measurements.916 | wavelength | Water, sterile-filtered, BioReagent, suitable for cell culture | Fluorescein | Phosphate Buffered Saline | NanoCym 950 nm monodisperse silica nanoparticles | sample_location
0 | calibration plate | A1 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_360
1 | calibration plate | A2 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_364
2 | calibration plate | A3 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_365
3 | calibration plate | A4 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_366
4 | calibration plate | A5 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_367
5 | calibration plate | A6 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_368
6 | calibration plate | A7 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_369
7 | calibration plate | A8 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_370
8 | calibration plate | A9 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_371
9 | calibration plate | A10 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_361
10 | calibration plate | A11 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_362
11 | calibration plate | A12 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  |  | 200 |  | sample_calibration plate_363
12 | calibration plate | B1 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_372
13 | calibration plate | B2 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_376
14 | calibration plate | B3 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_377
15 | calibration plate | B4 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_378
16 | calibration plate | B5 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_379
17 | calibration plate | B6 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_380
18 | calibration plate | B7 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_381
19 | calibration plate | B8 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_382
20 | calibration plate | B9 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_383
21 | calibration plate | B10 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_373
22 | calibration plate | B11 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_374
23 | calibration plate | B12 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  |  | 200 |  | sample_calibration plate_375
24 | calibration plate | C1 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_384
25 | calibration plate | C2 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_388
26 | calibration plate | C3 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_389
27 | calibration plate | C4 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_390
28 | calibration plate | C5 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_391
29 | calibration plate | C6 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_392
30 | calibration plate | C7 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_393
31 | calibration plate | C8 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_394
32 | calibration plate | C9 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_395
33 | calibration plate | C10 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_385
34 | calibration plate | C11 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_386
35 | calibration plate | C12 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  |  | 200 |  | sample_calibration plate_387
36 | calibration plate | D1 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_396
37 | calibration plate | D2 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_400
38 | calibration plate | D3 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_401
39 | calibration plate | D4 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_402
40 | calibration plate | D5 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_403
41 | calibration plate | D6 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_404
42 | calibration plate | D7 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_405
43 | calibration plate | D8 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_406
44 | calibration plate | D9 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_407
45 | calibration plate | D10 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_397
46 | calibration plate | D11 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_398
47 | calibration plate | D12 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer |  | nan |  |  | 200 |  | sample_calibration plate_399
48 | calibration plate | E1 |  | nan | nan | nan |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_408
49 | calibration plate | E2 |  | nan | nan | nan |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_412
50 | calibration plate | E3 |  | nan | nan | nan |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_413
51 | calibration plate | E4 |  | nan | nan | nan |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_414
52 | calibration plate | E5 |  | nan | nan | nan |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_415
53 | calibration plate | E6 |  | nan | nan | nan |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_416
54 | calibration plate | E7 |  | nan | nan | nan |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_417
55 | calibration plate | E8 |  | nan | nan | nan |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_418
56 | calibration plate | E9 |  | nan | nan | nan |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_419
57 | calibration plate | E10 |  | nan | nan | nan |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_409
58 | calibration plate | E11 |  | nan | nan | nan |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_410
59 | calibration plate | E12 |  | nan | nan | nan |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_411
60 | calibration plate | F1 |  | nan | nan | nan |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_420
61 | calibration plate | F2 |  | nan | nan | nan |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_424
62 | calibration plate | F3 |  | nan | nan | nan |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_425
63 | calibration plate | F4 |  | nan | nan | nan |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_426
64 | calibration plate | F5 |  | nan | nan | nan |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_427
65 | calibration plate | F6 |  | nan | nan | nan |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_428
66 | calibration plate | F7 |  | nan | nan | nan |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_429
67 | calibration plate | F8 |  | nan | nan | nan |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_430
68 | calibration plate | F9 |  | nan | nan | nan |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_431
69 | calibration plate | F10 |  | nan | nan | nan |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_421
70 | calibration plate | F11 |  | nan | nan | nan |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_422
71 | calibration plate | F12 |  | nan | nan | nan |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_423
72 | calibration plate | G1 |  | nan | nan | nan |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_432
73 | calibration plate | G2 |  | nan | nan | nan |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_436
74 | calibration plate | G3 |  | nan | nan | nan |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_437
75 | calibration plate | G4 |  | nan | nan | nan |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_438
76 | calibration plate | G5 |  | nan | nan | nan |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_439
77 | calibration plate | G6 |  | nan | nan | nan |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_440
78 | calibration plate | G7 |  | nan | nan | nan |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_441
79 | calibration plate | G8 |  | nan | nan | nan |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_442
80 | calibration plate | G9 |  | nan | nan | nan |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_443
81 | calibration plate | G10 |  | nan | nan | nan |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_433
82 | calibration plate | G11 |  | nan | nan | nan |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_434
83 | calibration plate | G12 |  | nan | nan | nan |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_435
84 | calibration plate | H1 |  | nan | nan | nan |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_444
85 | calibration plate | H2 |  | nan | nan | nan |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_448
86 | calibration plate | H3 |  | nan | nan | nan |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_449
87 | calibration plate | H4 |  | nan | nan | nan |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_450
88 | calibration plate | H5 |  | nan | nan | nan |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_451
89 | calibration plate | H6 |  | nan | nan | nan |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_452
90 | calibration plate | H7 |  | nan | nan | nan |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_453
91 | calibration plate | H8 |  | nan | nan | nan |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_454
92 | calibration plate | H9 |  | nan | nan | nan |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_455
93 | calibration plate | H10 |  | nan | nan | nan |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_445
94 | calibration plate | H11 |  | nan | nan | nan |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_446
95 | calibration plate | H12 |  | nan | nan | nan |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_447

## MeasureFluorescence_data_0
| container | location | MeasureFluorescence.measurements.607
0 | calibration plate | A1
1 | calibration plate | A2
2 | calibration plate | A3
3 | calibration plate | A4
4 | calibration plate | A5
5 | calibration plate | A6
6 | calibration plate | A7
7 | calibration plate | A8
8 | calibration plate | A9
9 | calibration plate | A10
10 | calibration plate | A11
11 | calibration plate | A12
12 | calibration plate | B1
13 | calibration plate | B2
14 | calibration plate | B3
15 | calibration plate | B4
16 | calibration plate | B5
17 | calibration plate | B6
18 | calibration plate | B7
19 | calibration plate | B8
20 | calibration plate | B9
21 | calibration plate | B10
22 | calibration plate | B11
23 | calibration plate | B12
24 | calibration plate | C1
25 | calibration plate | C2
26 | calibration plate | C3
27 | calibration plate | C4
28 | calibration plate | C5
29 | calibration plate | C6
30 | calibration plate | C7
31 | calibration plate | C8
32 | calibration plate | C9
33 | calibration plate | C10
34 | calibration plate | C11
35 | calibration plate | C12
36 | calibration plate | D1
37 | calibration plate | D2
38 | calibration plate | D3
39 | calibration plate | D4
40 | calibration plate | D5
41 | calibration plate | D6
42 | calibration plate | D7
43 | calibration plate | D8
44 | calibration plate | D9
45 | calibration plate | D10
46 | calibration plate | D11
47 | calibration plate | D12

## MeasureFluorescence_dataset_1
| container | location | MeasureFluorescence.measurements.607 | emissionBandpassWidth | emissionWavelength | excitationWavelength
0 | calibration plate | A1 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
1 | calibration plate | A2 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
2 | calibration plate | A3 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
3 | calibration plate | A4 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
4 | calibration plate | A5 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
5 | calibration plate | A6 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
6 | calibration plate | A7 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
7 | calibration plate | A8 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
8 | calibration plate | A9 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
9 | calibration plate | A10 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
10 | calibration plate | A11 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
11 | calibration plate | A12 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
12 | calibration plate | B1 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
13 | calibration plate | B2 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
14 | calibration plate | B3 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
15 | calibration plate | B4 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
16 | calibration plate | B5 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
17 | calibration plate | B6 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
18 | calibration plate | B7 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
19 | calibration plate | B8 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
20 | calibration plate | B9 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
21 | calibration plate | B10 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
22 | calibration plate | B11 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
23 | calibration plate | B12 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
24 | calibration plate | C1 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
25 | calibration plate | C2 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
26 | calibration plate | C3 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
27 | calibration plate | C4 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
28 | calibration plate | C5 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
29 | calibration plate | C6 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
30 | calibration plate | C7 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
31 | calibration plate | C8 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
32 | calibration plate | C9 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
33 | calibration plate | C10 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
34 | calibration plate | C11 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
35 | calibration plate | C12 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
36 | calibration plate | D1 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
37 | calibration plate | D2 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
38 | calibration plate | D3 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
39 | calibration plate | D4 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
40 | calibration plate | D5 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
41 | calibration plate | D6 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
42 | calibration plate | D7 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
43 | calibration plate | D8 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
44 | calibration plate | D9 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
45 | calibration plate | D10 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
46 | calibration plate | D11 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer
47 | calibration plate | D12 |  | 30.0 nanometer | 530.0 nanometer | 488.0 nanometer

## MeasureAbsorbance_data_2
| container | location | MeasureAbsorbance.measurements.916
0 | calibration plate | E1
1 | calibration plate | E2
2 | calibration plate | E3
3 | calibration plate | E4
4 | calibration plate | E5
5 | calibration plate | E6
6 | calibration plate | E7
7 | calibration plate | E8
8 | calibration plate | E9
9 | calibration plate | E10
10 | calibration plate | E11
11 | calibration plate | E12
12 | calibration plate | F1
13 | calibration plate | F2
14 | calibration plate | F3
15 | calibration plate | F4
16 | calibration plate | F5
17 | calibration plate | F6
18 | calibration plate | F7
19 | calibration plate | F8
20 | calibration plate | F9
21 | calibration plate | F10
22 | calibration plate | F11
23 | calibration plate | F12
24 | calibration plate | G1
25 | calibration plate | G2
26 | calibration plate | G3
27 | calibration plate | G4
28 | calibration plate | G5
29 | calibration plate | G6
30 | calibration plate | G7
31 | calibration plate | G8
32 | calibration plate | G9
33 | calibration plate | G10
34 | calibration plate | G11
35 | calibration plate | G12
36 | calibration plate | H1
37 | calibration plate | H2
38 | calibration plate | H3
39 | calibration plate | H4
40 | calibration plate | H5
41 | calibration plate | H6
42 | calibration plate | H7
43 | calibration plate | H8
44 | calibration plate | H9
45 | calibration plate | H10
46 | calibration plate | H11
47 | calibration plate | H12

## MeasureAbsorbance_dataset_3
| container | location | MeasureAbsorbance.measurements.916 | wavelength
0 | calibration plate | E1 |  | 600.0 nanometer
1 | calibration plate | E2 |  | 600.0 nanometer
2 | calibration plate | E3 |  | 600.0 nanometer
3 | calibration plate | E4 |  | 600.0 nanometer
4 | calibration plate | E5 |  | 600.0 nanometer
5 | calibration plate | E6 |  | 600.0 nanometer
6 | calibration plate | E7 |  | 600.0 nanometer
7 | calibration plate | E8 |  | 600.0 nanometer
8 | calibration plate | E9 |  | 600.0 nanometer
9 | calibration plate | E10 |  | 600.0 nanometer
10 | calibration plate | E11 |  | 600.0 nanometer
11 | calibration plate | E12 |  | 600.0 nanometer
12 | calibration plate | F1 |  | 600.0 nanometer
13 | calibration plate | F2 |  | 600.0 nanometer
14 | calibration plate | F3 |  | 600.0 nanometer
15 | calibration plate | F4 |  | 600.0 nanometer
16 | calibration plate | F5 |  | 600.0 nanometer
17 | calibration plate | F6 |  | 600.0 nanometer
18 | calibration plate | F7 |  | 600.0 nanometer
19 | calibration plate | F8 |  | 600.0 nanometer
20 | calibration plate | F9 |  | 600.0 nanometer
21 | calibration plate | F10 |  | 600.0 nanometer
22 | calibration plate | F11 |  | 600.0 nanometer
23 | calibration plate | F12 |  | 600.0 nanometer
24 | calibration plate | G1 |  | 600.0 nanometer
25 | calibration plate | G2 |  | 600.0 nanometer
26 | calibration plate | G3 |  | 600.0 nanometer
27 | calibration plate | G4 |  | 600.0 nanometer
28 | calibration plate | G5 |  | 600.0 nanometer
29 | calibration plate | G6 |  | 600.0 nanometer
30 | calibration plate | G7 |  | 600.0 nanometer
31 | calibration plate | G8 |  | 600.0 nanometer
32 | calibration plate | G9 |  | 600.0 nanometer
33 | calibration plate | G10 |  | 600.0 nanometer
34 | calibration plate | G11 |  | 600.0 nanometer
35 | calibration plate | G12 |  | 600.0 nanometer
36 | calibration plate | H1 |  | 600.0 nanometer
37 | calibration plate | H2 |  | 600.0 nanometer
38 | calibration plate | H3 |  | 600.0 nanometer
39 | calibration plate | H4 |  | 600.0 nanometer
40 | calibration plate | H5 |  | 600.0 nanometer
41 | calibration plate | H6 |  | 600.0 nanometer
42 | calibration plate | H7 |  | 600.0 nanometer
43 | calibration plate | H8 |  | 600.0 nanometer
44 | calibration plate | H9 |  | 600.0 nanometer
45 | calibration plate | H10 |  | 600.0 nanometer
46 | calibration plate | H11 |  | 600.0 nanometer
47 | calibration plate | H12 |  | 600.0 nanometer