## MeasureFluorescence_dataset_0
container | location | MeasureFluorescence.measurements.607 | emissionBandpassWidth | excitationWavelength | emissionWavelength
calibration plate | A1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| A12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| B12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| C12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer
| D12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer

## MeasureFluorescence_data_1
container | location | MeasureFluorescence.measurements.607
calibration plate | A1
A2
A3
A4
A5
A6
A7
A8
A9
A10
A11
A12
B1
B2
B3
B4
B5
B6
B7
B8
B9
B10
B11
B12
C1
C2
C3
C4
C5
C6
C7
C8
C9
C10
C11
C12
D1
D2
D3
D4
D5
D6
D7
D8
D9
D10
D11
D12

## MeasureAbsorbance_dataset_2
container | location | MeasureAbsorbance.measurements.916 | wavelength
calibration plate | E1 |  | 600.0 nanometer
| E2 |  | 600.0 nanometer
| E3 |  | 600.0 nanometer
| E4 |  | 600.0 nanometer
| E5 |  | 600.0 nanometer
| E6 |  | 600.0 nanometer
| E7 |  | 600.0 nanometer
| E8 |  | 600.0 nanometer
| E9 |  | 600.0 nanometer
| E10 |  | 600.0 nanometer
| E11 |  | 600.0 nanometer
| E12 |  | 600.0 nanometer
| F1 |  | 600.0 nanometer
| F2 |  | 600.0 nanometer
| F3 |  | 600.0 nanometer
| F4 |  | 600.0 nanometer
| F5 |  | 600.0 nanometer
| F6 |  | 600.0 nanometer
| F7 |  | 600.0 nanometer
| F8 |  | 600.0 nanometer
| F9 |  | 600.0 nanometer
| F10 |  | 600.0 nanometer
| F11 |  | 600.0 nanometer
| F12 |  | 600.0 nanometer
| G1 |  | 600.0 nanometer
| G2 |  | 600.0 nanometer
| G3 |  | 600.0 nanometer
| G4 |  | 600.0 nanometer
| G5 |  | 600.0 nanometer
| G6 |  | 600.0 nanometer
| G7 |  | 600.0 nanometer
| G8 |  | 600.0 nanometer
| G9 |  | 600.0 nanometer
| G10 |  | 600.0 nanometer
| G11 |  | 600.0 nanometer
| G12 |  | 600.0 nanometer
| H1 |  | 600.0 nanometer
| H2 |  | 600.0 nanometer
| H3 |  | 600.0 nanometer
| H4 |  | 600.0 nanometer
| H5 |  | 600.0 nanometer
| H6 |  | 600.0 nanometer
| H7 |  | 600.0 nanometer
| H8 |  | 600.0 nanometer
| H9 |  | 600.0 nanometer
| H10 |  | 600.0 nanometer
| H11 |  | 600.0 nanometer
| H12 |  | 600.0 nanometer

## MeasureAbsorbance_data_3
container | location | MeasureAbsorbance.measurements.916
calibration plate | E1
E2
E3
E4
E5
E6
E7
E8
E9
E10
E11
E12
F1
F2
F3
F4
F5
F6
F7
F8
F9
F10
F11
F12
G1
G2
G3
G4
G5
G6
G7
G8
G9
G10
G11
G12
H1
H2
H3
H4
H5
H6
H7
H8
H9
H10
H11
H12

## JoinMetadata_dataset_4
container | location | MeasureFluorescence.measurements.607 | emissionBandpassWidth | excitationWavelength | emissionWavelength | Water, sterile-filtered, BioReagent, suitable for cell culture | Fluorescein | Phosphate Buffered Saline | NanoCym 950 nm monodisperse silica nanoparticles | sample_location
calibration plate | A1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.37486 | 199.6251 |  | sample_calibration plate_360
| A2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.18743 | 199.8126 |  | sample_calibration plate_364
| A3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.093716 | 199.9063 |  | sample_calibration plate_365
| A4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.046858 | 199.9531 |  | sample_calibration plate_366
| A5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.023429 | 199.9766 |  | sample_calibration plate_367
| A6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.011714 | 199.9883 |  | sample_calibration plate_368
| A7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.0058572 | 199.9941 |  | sample_calibration plate_369
| A8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.0029286 | 199.9971 |  | sample_calibration plate_370
| A9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.0014643 | 199.9985 |  | sample_calibration plate_371
| A10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.00073215 | 199.9993 |  | sample_calibration plate_361
| A11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.00036608 | 199.9996 |  | sample_calibration plate_362
| A12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  |  | 200 |  | sample_calibration plate_363
| B1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.37486 | 199.6251 |  | sample_calibration plate_372
| B2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.18743 | 199.8126 |  | sample_calibration plate_376
| B3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.093716 | 199.9063 |  | sample_calibration plate_377
| B4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.046858 | 199.9531 |  | sample_calibration plate_378
| B5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.023429 | 199.9766 |  | sample_calibration plate_379
| B6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.011714 | 199.9883 |  | sample_calibration plate_380
| B7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.0058572 | 199.9941 |  | sample_calibration plate_381
| B8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.0029286 | 199.9971 |  | sample_calibration plate_382
| B9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.0014643 | 199.9985 |  | sample_calibration plate_383
| B10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.00073215 | 199.9993 |  | sample_calibration plate_373
| B11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.00036608 | 199.9996 |  | sample_calibration plate_374
| B12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  |  | 200 |  | sample_calibration plate_375
| C1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.37486 | 199.6251 |  | sample_calibration plate_384
| C2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.18743 | 199.8126 |  | sample_calibration plate_388
| C3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.093716 | 199.9063 |  | sample_calibration plate_389
| C4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.046858 | 199.9531 |  | sample_calibration plate_390
| C5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.023429 | 199.9766 |  | sample_calibration plate_391
| C6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.011714 | 199.9883 |  | sample_calibration plate_392
| C7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.0058572 | 199.9941 |  | sample_calibration plate_393
| C8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.0029286 | 199.9971 |  | sample_calibration plate_394
| C9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.0014643 | 199.9985 |  | sample_calibration plate_395
| C10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.00073215 | 199.9993 |  | sample_calibration plate_385
| C11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.00036608 | 199.9996 |  | sample_calibration plate_386
| C12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  |  | 200 |  | sample_calibration plate_387
| D1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.37486 | 199.6251 |  | sample_calibration plate_396
| D2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.18743 | 199.8126 |  | sample_calibration plate_400
| D3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.093716 | 199.9063 |  | sample_calibration plate_401
| D4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.046858 | 199.9531 |  | sample_calibration plate_402
| D5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.023429 | 199.9766 |  | sample_calibration plate_403
| D6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.011714 | 199.9883 |  | sample_calibration plate_404
| D7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.0058572 | 199.9941 |  | sample_calibration plate_405
| D8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.0029286 | 199.9971 |  | sample_calibration plate_406
| D9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.0014643 | 199.9985 |  | sample_calibration plate_407
| D10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.00073215 | 199.9993 |  | sample_calibration plate_397
| D11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | 0.00036608 | 199.9996 |  | sample_calibration plate_398
| D12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  |  | 200 |  | sample_calibration plate_399
| E1 |  | nan | nan | nan | 199.9161 |  |  | 0.083929 | sample_calibration plate_408
| E2 |  | nan | nan | nan | 199.958 |  |  | 0.041965 | sample_calibration plate_412
| E3 |  | nan | nan | nan | 199.979 |  |  | 0.020982 | sample_calibration plate_413
| E4 |  | nan | nan | nan | 199.9895 |  |  | 0.010491 | sample_calibration plate_414
| E5 |  | nan | nan | nan | 199.9948 |  |  | 0.0052456 | sample_calibration plate_415
| E6 |  | nan | nan | nan | 199.9974 |  |  | 0.0026228 | sample_calibration plate_416
| E7 |  | nan | nan | nan | 199.9987 |  |  | 0.0013114 | sample_calibration plate_417
| E8 |  | nan | nan | nan | 199.9993 |  |  | 0.0006557 | sample_calibration plate_418
| E9 |  | nan | nan | nan | 199.9997 |  |  | 0.00032785 | sample_calibration plate_419
| E10 |  | nan | nan | nan | 199.9998 |  |  | 0.00016392 | sample_calibration plate_409
| E11 |  | nan | nan | nan | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_410
| E12 |  | nan | nan | nan | 200 |  |  |  | sample_calibration plate_411
| F1 |  | nan | nan | nan | 199.9161 |  |  | 0.083929 | sample_calibration plate_420
| F2 |  | nan | nan | nan | 199.958 |  |  | 0.041965 | sample_calibration plate_424
| F3 |  | nan | nan | nan | 199.979 |  |  | 0.020982 | sample_calibration plate_425
| F4 |  | nan | nan | nan | 199.9895 |  |  | 0.010491 | sample_calibration plate_426
| F5 |  | nan | nan | nan | 199.9948 |  |  | 0.0052456 | sample_calibration plate_427
| F6 |  | nan | nan | nan | 199.9974 |  |  | 0.0026228 | sample_calibration plate_428
| F7 |  | nan | nan | nan | 199.9987 |  |  | 0.0013114 | sample_calibration plate_429
| F8 |  | nan | nan | nan | 199.9993 |  |  | 0.0006557 | sample_calibration plate_430
| F9 |  | nan | nan | nan | 199.9997 |  |  | 0.00032785 | sample_calibration plate_431
| F10 |  | nan | nan | nan | 199.9998 |  |  | 0.00016392 | sample_calibration plate_421
| F11 |  | nan | nan | nan | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_422
| F12 |  | nan | nan | nan | 200 |  |  |  | sample_calibration plate_423
| G1 |  | nan | nan | nan | 199.9161 |  |  | 0.083929 | sample_calibration plate_432
| G2 |  | nan | nan | nan | 199.958 |  |  | 0.041965 | sample_calibration plate_436
| G3 |  | nan | nan | nan | 199.979 |  |  | 0.020982 | sample_calibration plate_437
| G4 |  | nan | nan | nan | 199.9895 |  |  | 0.010491 | sample_calibration plate_438
| G5 |  | nan | nan | nan | 199.9948 |  |  | 0.0052456 | sample_calibration plate_439
| G6 |  | nan | nan | nan | 199.9974 |  |  | 0.0026228 | sample_calibration plate_440
| G7 |  | nan | nan | nan | 199.9987 |  |  | 0.0013114 | sample_calibration plate_441
| G8 |  | nan | nan | nan | 199.9993 |  |  | 0.0006557 | sample_calibration plate_442
| G9 |  | nan | nan | nan | 199.9997 |  |  | 0.00032785 | sample_calibration plate_443
| G10 |  | nan | nan | nan | 199.9998 |  |  | 0.00016392 | sample_calibration plate_433
| G11 |  | nan | nan | nan | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_434
| G12 |  | nan | nan | nan | 200 |  |  |  | sample_calibration plate_435
| H1 |  | nan | nan | nan | 199.9161 |  |  | 0.083929 | sample_calibration plate_444
| H2 |  | nan | nan | nan | 199.958 |  |  | 0.041965 | sample_calibration plate_448
| H3 |  | nan | nan | nan | 199.979 |  |  | 0.020982 | sample_calibration plate_449
| H4 |  | nan | nan | nan | 199.9895 |  |  | 0.010491 | sample_calibration plate_450
| H5 |  | nan | nan | nan | 199.9948 |  |  | 0.0052456 | sample_calibration plate_451
| H6 |  | nan | nan | nan | 199.9974 |  |  | 0.0026228 | sample_calibration plate_452
| H7 |  | nan | nan | nan | 199.9987 |  |  | 0.0013114 | sample_calibration plate_453
| H8 |  | nan | nan | nan | 199.9993 |  |  | 0.0006557 | sample_calibration plate_454
| H9 |  | nan | nan | nan | 199.9997 |  |  | 0.00032785 | sample_calibration plate_455
| H10 |  | nan | nan | nan | 199.9998 |  |  | 0.00016392 | sample_calibration plate_445
| H11 |  | nan | nan | nan | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_446
| H12 |  | nan | nan | nan | 200 |  |  |  | sample_calibration plate_447

## JoinMetadata_dataset_5
container | location | MeasureAbsorbance.measurements.916 | wavelength | Water, sterile-filtered, BioReagent, suitable for cell culture | Fluorescein | Phosphate Buffered Saline | NanoCym 950 nm monodisperse silica nanoparticles | sample_location
calibration plate | A1 |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_360
| A2 |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_364
| A3 |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_365
| A4 |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_366
| A5 |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_367
| A6 |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_368
| A7 |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_369
| A8 |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_370
| A9 |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_371
| A10 |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_361
| A11 |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_362
| A12 |  | nan |  |  | 200 |  | sample_calibration plate_363
| B1 |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_372
| B2 |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_376
| B3 |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_377
| B4 |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_378
| B5 |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_379
| B6 |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_380
| B7 |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_381
| B8 |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_382
| B9 |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_383
| B10 |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_373
| B11 |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_374
| B12 |  | nan |  |  | 200 |  | sample_calibration plate_375
| C1 |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_384
| C2 |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_388
| C3 |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_389
| C4 |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_390
| C5 |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_391
| C6 |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_392
| C7 |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_393
| C8 |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_394
| C9 |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_395
| C10 |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_385
| C11 |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_386
| C12 |  | nan |  |  | 200 |  | sample_calibration plate_387
| D1 |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_396
| D2 |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_400
| D3 |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_401
| D4 |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_402
| D5 |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_403
| D6 |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_404
| D7 |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_405
| D8 |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_406
| D9 |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_407
| D10 |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_397
| D11 |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_398
| D12 |  | nan |  |  | 200 |  | sample_calibration plate_399
| E1 |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_408
| E2 |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_412
| E3 |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_413
| E4 |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_414
| E5 |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_415
| E6 |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_416
| E7 |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_417
| E8 |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_418
| E9 |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_419
| E10 |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_409
| E11 |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_410
| E12 |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_411
| F1 |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_420
| F2 |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_424
| F3 |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_425
| F4 |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_426
| F5 |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_427
| F6 |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_428
| F7 |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_429
| F8 |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_430
| F9 |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_431
| F10 |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_421
| F11 |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_422
| F12 |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_423
| G1 |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_432
| G2 |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_436
| G3 |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_437
| G4 |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_438
| G5 |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_439
| G6 |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_440
| G7 |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_441
| G8 |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_442
| G9 |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_443
| G10 |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_433
| G11 |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_434
| G12 |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_435
| H1 |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_444
| H2 |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_448
| H3 |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_449
| H4 |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_450
| H5 |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_451
| H6 |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_452
| H7 |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_453
| H8 |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_454
| H9 |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_455
| H10 |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_445
| H11 |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_446
| H12 |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_447

## JoinDatasets_dataset_6
container | location | MeasureFluorescence.measurements.607 | emissionBandpassWidth | excitationWavelength | emissionWavelength | MeasureAbsorbance.measurements.916 | wavelength | Water, sterile-filtered, BioReagent, suitable for cell culture | Fluorescein | Phosphate Buffered Saline | NanoCym 950 nm monodisperse silica nanoparticles | sample_location
calibration plate | A1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_360
| A2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_364
| A3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_365
| A4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_366
| A5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_367
| A6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_368
| A7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_369
| A8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_370
| A9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_371
| A10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_361
| A11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_362
| A12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  |  | 200 |  | sample_calibration plate_363
| B1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_372
| B2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_376
| B3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_377
| B4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_378
| B5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_379
| B6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_380
| B7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_381
| B8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_382
| B9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_383
| B10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_373
| B11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_374
| B12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  |  | 200 |  | sample_calibration plate_375
| C1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_384
| C2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_388
| C3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_389
| C4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_390
| C5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_391
| C6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_392
| C7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_393
| C8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_394
| C9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_395
| C10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_385
| C11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_386
| C12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  |  | 200 |  | sample_calibration plate_387
| D1 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.37486 | 199.6251 |  | sample_calibration plate_396
| D2 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.18743 | 199.8126 |  | sample_calibration plate_400
| D3 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.093716 | 199.9063 |  | sample_calibration plate_401
| D4 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.046858 | 199.9531 |  | sample_calibration plate_402
| D5 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.023429 | 199.9766 |  | sample_calibration plate_403
| D6 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.011714 | 199.9883 |  | sample_calibration plate_404
| D7 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.0058572 | 199.9941 |  | sample_calibration plate_405
| D8 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.0029286 | 199.9971 |  | sample_calibration plate_406
| D9 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.0014643 | 199.9985 |  | sample_calibration plate_407
| D10 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.00073215 | 199.9993 |  | sample_calibration plate_397
| D11 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  | 0.00036608 | 199.9996 |  | sample_calibration plate_398
| D12 |  | 30.0 nanometer | 488.0 nanometer | 530.0 nanometer |  | nan |  |  | 200 |  | sample_calibration plate_399
| E1 |  | nan | nan | nan |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_408
| E2 |  | nan | nan | nan |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_412
| E3 |  | nan | nan | nan |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_413
| E4 |  | nan | nan | nan |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_414
| E5 |  | nan | nan | nan |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_415
| E6 |  | nan | nan | nan |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_416
| E7 |  | nan | nan | nan |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_417
| E8 |  | nan | nan | nan |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_418
| E9 |  | nan | nan | nan |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_419
| E10 |  | nan | nan | nan |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_409
| E11 |  | nan | nan | nan |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_410
| E12 |  | nan | nan | nan |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_411
| F1 |  | nan | nan | nan |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_420
| F2 |  | nan | nan | nan |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_424
| F3 |  | nan | nan | nan |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_425
| F4 |  | nan | nan | nan |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_426
| F5 |  | nan | nan | nan |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_427
| F6 |  | nan | nan | nan |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_428
| F7 |  | nan | nan | nan |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_429
| F8 |  | nan | nan | nan |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_430
| F9 |  | nan | nan | nan |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_431
| F10 |  | nan | nan | nan |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_421
| F11 |  | nan | nan | nan |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_422
| F12 |  | nan | nan | nan |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_423
| G1 |  | nan | nan | nan |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_432
| G2 |  | nan | nan | nan |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_436
| G3 |  | nan | nan | nan |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_437
| G4 |  | nan | nan | nan |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_438
| G5 |  | nan | nan | nan |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_439
| G6 |  | nan | nan | nan |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_440
| G7 |  | nan | nan | nan |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_441
| G8 |  | nan | nan | nan |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_442
| G9 |  | nan | nan | nan |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_443
| G10 |  | nan | nan | nan |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_433
| G11 |  | nan | nan | nan |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_434
| G12 |  | nan | nan | nan |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_435
| H1 |  | nan | nan | nan |  | 600.0 nanometer | 199.9161 |  |  | 0.083929 | sample_calibration plate_444
| H2 |  | nan | nan | nan |  | 600.0 nanometer | 199.958 |  |  | 0.041965 | sample_calibration plate_448
| H3 |  | nan | nan | nan |  | 600.0 nanometer | 199.979 |  |  | 0.020982 | sample_calibration plate_449
| H4 |  | nan | nan | nan |  | 600.0 nanometer | 199.9895 |  |  | 0.010491 | sample_calibration plate_450
| H5 |  | nan | nan | nan |  | 600.0 nanometer | 199.9948 |  |  | 0.0052456 | sample_calibration plate_451
| H6 |  | nan | nan | nan |  | 600.0 nanometer | 199.9974 |  |  | 0.0026228 | sample_calibration plate_452
| H7 |  | nan | nan | nan |  | 600.0 nanometer | 199.9987 |  |  | 0.0013114 | sample_calibration plate_453
| H8 |  | nan | nan | nan |  | 600.0 nanometer | 199.9993 |  |  | 0.0006557 | sample_calibration plate_454
| H9 |  | nan | nan | nan |  | 600.0 nanometer | 199.9997 |  |  | 0.00032785 | sample_calibration plate_455
| H10 |  | nan | nan | nan |  | 600.0 nanometer | 199.9998 |  |  | 0.00016392 | sample_calibration plate_445
| H11 |  | nan | nan | nan |  | 600.0 nanometer | 199.9999 |  |  | 8.1962e-05 | sample_calibration plate_446
| H12 |  | nan | nan | nan |  | 600.0 nanometer | 200 |  |  |  | sample_calibration plate_447