## MeasureFluorescence_dataset_0
sample | MeasureFluorescence.measurements.736 | excitationWavelength | emissionWavelength | emissionBandpassWidth
A1 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
A2 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
A3 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
A4 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
A5 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
A6 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
A7 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
A8 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
A9 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
A10 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
A11 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
A12 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
B1 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
B2 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
B3 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
B4 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
B5 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
B6 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
B7 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
B8 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
B9 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
B10 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
B11 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1
B12 |  | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction61/ValuePin3/LiteralIdentified1/Measure1

## MeasureFluorescence_data_1
sample | MeasureFluorescence.measurements.736
A1
A2
A3
A4
A5
A6
A7
A8
A9
A10
A11
A12
B1
B2
B3
B4
B5
B6
B7
B8
B9
B10
B11
B12

## MeasureFluorescence_dataset_2
sample | MeasureFluorescence.measurements.915 | excitationWavelength | emissionWavelength | emissionBandpassWidth
C1 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
C2 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
C3 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
C4 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
C5 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
C6 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
C7 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
C8 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
C9 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
C10 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
C11 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
C12 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
D1 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
D2 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
D3 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
D4 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
D5 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
D6 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
D7 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
D8 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
D9 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
D10 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
D11 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1
D12 |  | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction62/ValuePin3/LiteralIdentified1/Measure1

## MeasureFluorescence_data_3
sample | MeasureFluorescence.measurements.915
C1
C2
C3
C4
C5
C6
C7
C8
C9
C10
C11
C12
D1
D2
D3
D4
D5
D6
D7
D8
D9
D10
D11
D12

## MeasureFluorescence_dataset_4
sample | MeasureFluorescence.measurements.716 | excitationWavelength | emissionWavelength | emissionBandpassWidth
E1 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
E2 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
E3 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
E4 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
E5 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
E6 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
E7 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
E8 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
E9 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
E10 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
E11 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
E12 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
F1 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
F2 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
F3 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
F4 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
F5 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
F6 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
F7 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
F8 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
F9 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
F10 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
F11 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1
F12 |  | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin1/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin2/LiteralIdentified1/Measure1 | http://igem.org/engineering/interlab/CallBehaviorAction63/ValuePin3/LiteralIdentified1/Measure1

## MeasureFluorescence_data_5
sample | MeasureFluorescence.measurements.716
E1
E2
E3
E4
E5
E6
E7
E8
E9
E10
E11
E12
F1
F2
F3
F4
F5
F6
F7
F8
F9
F10
F11
F12

## MeasureAbsorbance_dataset_6
sample | MeasureAbsorbance.measurements.723 | wavelength
G1 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
G2 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
G3 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
G4 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
G5 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
G6 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
G7 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
G8 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
G9 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
G10 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
G11 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
G12 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
H1 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
H2 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
H3 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
H4 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
H5 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
H6 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
H7 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
H8 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
H9 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
H10 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
H11 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1
H12 |  | http://igem.org/engineering/interlab/CallBehaviorAction64/ValuePin1/LiteralIdentified1/Measure1

## MeasureAbsorbance_data_7
sample | MeasureAbsorbance.measurements.723
G1
G2
G3
G4
G5
G6
G7
G8
G9
G10
G11
G12
H1
H2
H3
H4
H5
H6
H7
H8
H9
H10
H11
H12

## JoinMetadata_dataset_8
sample | MeasureFluorescence.measurements.736 | excitationWavelength | emissionWavelength | emissionBandpassWidth | fluoroscein (uM) | sulforhodamine (uM) | cascade blue (uM) | NanoCym beads (1/mL) | double distilled water (uL) | PBS (uL)
A1 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 5 | 0 | 0 | 0 | 0 | 200
A10 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.0097656 | 0 | 0 | 0 | 0 | 200
A11 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.0048828 | 0 | 0 | 0 | 0 | 200
A12 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0 | 0 | 0 | 0 | 0 | 200
A2 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 2.5 | 0 | 0 | 0 | 0 | 200
A3 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 1.25 | 0 | 0 | 0 | 0 | 200
A4 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.625 | 0 | 0 | 0 | 0 | 200
A5 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.3125 | 0 | 0 | 0 | 0 | 200
A6 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.15625 | 0 | 0 | 0 | 0 | 200
A7 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.078125 | 0 | 0 | 0 | 0 | 200
A8 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.039062 | 0 | 0 | 0 | 0 | 200
A9 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.019531 | 0 | 0 | 0 | 0 | 200
B1 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 5 | 0 | 0 | 0 | 0 | 200
B10 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.0097656 | 0 | 0 | 0 | 0 | 200
B11 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.0048828 | 0 | 0 | 0 | 0 | 200
B12 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0 | 0 | 0 | 0 | 0 | 200
B2 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 2.5 | 0 | 0 | 0 | 0 | 200
B3 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 1.25 | 0 | 0 | 0 | 0 | 200
B4 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.625 | 0 | 0 | 0 | 0 | 200
B5 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.3125 | 0 | 0 | 0 | 0 | 200
B6 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.15625 | 0 | 0 | 0 | 0 | 200
B7 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.078125 | 0 | 0 | 0 | 0 | 200
B8 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.039062 | 0 | 0 | 0 | 0 | 200
B9 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.019531 | 0 | 0 | 0 | 0 | 200
C1 |  | nan | nan | nan | 0 | 1 | 0 | 0 | 0 | 200
C10 |  | nan | nan | nan | 0 | 0.0019531 | 0 | 0 | 0 | 200
C11 |  | nan | nan | nan | 0 | 0.00097656 | 0 | 0 | 0 | 200
C12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 0 | 200
C2 |  | nan | nan | nan | 0 | 0.5 | 0 | 0 | 0 | 200
C3 |  | nan | nan | nan | 0 | 0.25 | 0 | 0 | 0 | 200
C4 |  | nan | nan | nan | 0 | 0.125 | 0 | 0 | 0 | 200
C5 |  | nan | nan | nan | 0 | 0.0625 | 0 | 0 | 0 | 200
C6 |  | nan | nan | nan | 0 | 0.03125 | 0 | 0 | 0 | 200
C7 |  | nan | nan | nan | 0 | 0.015625 | 0 | 0 | 0 | 200
C8 |  | nan | nan | nan | 0 | 0.0078125 | 0 | 0 | 0 | 200
C9 |  | nan | nan | nan | 0 | 0.0039062 | 0 | 0 | 0 | 200
D1 |  | nan | nan | nan | 0 | 1 | 0 | 0 | 0 | 200
D10 |  | nan | nan | nan | 0 | 0.0019531 | 0 | 0 | 0 | 200
D11 |  | nan | nan | nan | 0 | 0.00097656 | 0 | 0 | 0 | 200
D12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 0 | 200
D2 |  | nan | nan | nan | 0 | 0.5 | 0 | 0 | 0 | 200
D3 |  | nan | nan | nan | 0 | 0.25 | 0 | 0 | 0 | 200
D4 |  | nan | nan | nan | 0 | 0.125 | 0 | 0 | 0 | 200
D5 |  | nan | nan | nan | 0 | 0.0625 | 0 | 0 | 0 | 200
D6 |  | nan | nan | nan | 0 | 0.03125 | 0 | 0 | 0 | 200
D7 |  | nan | nan | nan | 0 | 0.015625 | 0 | 0 | 0 | 200
D8 |  | nan | nan | nan | 0 | 0.0078125 | 0 | 0 | 0 | 200
D9 |  | nan | nan | nan | 0 | 0.0039062 | 0 | 0 | 0 | 200
E1 |  | nan | nan | nan | 0 | 0 | 5 | 0 | 200 | 0
E10 |  | nan | nan | nan | 0 | 0 | 0.0097656 | 0 | 200 | 0
E11 |  | nan | nan | nan | 0 | 0 | 0.0048828 | 0 | 200 | 0
E12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 200 | 0
E2 |  | nan | nan | nan | 0 | 0 | 2.5 | 0 | 200 | 0
E3 |  | nan | nan | nan | 0 | 0 | 1.25 | 0 | 200 | 0
E4 |  | nan | nan | nan | 0 | 0 | 0.625 | 0 | 200 | 0
E5 |  | nan | nan | nan | 0 | 0 | 0.3125 | 0 | 200 | 0
E6 |  | nan | nan | nan | 0 | 0 | 0.15625 | 0 | 200 | 0
E7 |  | nan | nan | nan | 0 | 0 | 0.078125 | 0 | 200 | 0
E8 |  | nan | nan | nan | 0 | 0 | 0.039062 | 0 | 200 | 0
E9 |  | nan | nan | nan | 0 | 0 | 0.019531 | 0 | 200 | 0
F1 |  | nan | nan | nan | 0 | 0 | 5 | 0 | 200 | 0
F10 |  | nan | nan | nan | 0 | 0 | 0.0097656 | 0 | 200 | 0
F11 |  | nan | nan | nan | 0 | 0 | 0.0048828 | 0 | 200 | 0
F12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 200 | 0
F2 |  | nan | nan | nan | 0 | 0 | 2.5 | 0 | 200 | 0
F3 |  | nan | nan | nan | 0 | 0 | 1.25 | 0 | 200 | 0
F4 |  | nan | nan | nan | 0 | 0 | 0.625 | 0 | 200 | 0
F5 |  | nan | nan | nan | 0 | 0 | 0.3125 | 0 | 200 | 0
F6 |  | nan | nan | nan | 0 | 0 | 0.15625 | 0 | 200 | 0
F7 |  | nan | nan | nan | 0 | 0 | 0.078125 | 0 | 200 | 0
F8 |  | nan | nan | nan | 0 | 0 | 0.039062 | 0 | 200 | 0
F9 |  | nan | nan | nan | 0 | 0 | 0.019531 | 0 | 200 | 0
G1 |  | nan | nan | nan | 0 | 0 | 0 | 1500000000 | 200 | 0
G10 |  | nan | nan | nan | 0 | 0 | 0 | 2929687.5 | 200 | 0
G11 |  | nan | nan | nan | 0 | 0 | 0 | 1464843.75 | 200 | 0
G12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 200 | 0
G2 |  | nan | nan | nan | 0 | 0 | 0 | 750000000 | 200 | 0
G3 |  | nan | nan | nan | 0 | 0 | 0 | 375000000 | 200 | 0
G4 |  | nan | nan | nan | 0 | 0 | 0 | 187500000 | 200 | 0
G5 |  | nan | nan | nan | 0 | 0 | 0 | 93750000 | 200 | 0
G6 |  | nan | nan | nan | 0 | 0 | 0 | 46875000 | 200 | 0
G7 |  | nan | nan | nan | 0 | 0 | 0 | 23437500 | 200 | 0
G8 |  | nan | nan | nan | 0 | 0 | 0 | 11718750 | 200 | 0
G9 |  | nan | nan | nan | 0 | 0 | 0 | 5859375 | 200 | 0
H1 |  | nan | nan | nan | 0 | 0 | 0 | 1500000000 | 200 | 0
H10 |  | nan | nan | nan | 0 | 0 | 0 | 2929687.5 | 200 | 0
H11 |  | nan | nan | nan | 0 | 0 | 0 | 1464843.75 | 200 | 0
H12 |  | nan | nan | nan | 0 | 0 | 0 | 732421.875 | 200 | 0
H2 |  | nan | nan | nan | 0 | 0 | 0 | 750000000 | 200 | 0
H3 |  | nan | nan | nan | 0 | 0 | 0 | 375000000 | 200 | 0
H4 |  | nan | nan | nan | 0 | 0 | 0 | 187500000 | 200 | 0
H5 |  | nan | nan | nan | 0 | 0 | 0 | 93750000 | 200 | 0
H6 |  | nan | nan | nan | 0 | 0 | 0 | 46875000 | 200 | 0
H7 |  | nan | nan | nan | 0 | 0 | 0 | 23437500 | 200 | 0
H8 |  | nan | nan | nan | 0 | 0 | 0 | 11718750 | 200 | 0
H9 |  | nan | nan | nan | 0 | 0 | 0 | 5859375 | 200 | 0

## JoinMetadata_dataset_9
sample | MeasureFluorescence.measurements.915 | excitationWavelength | emissionWavelength | emissionBandpassWidth | fluoroscein (uM) | sulforhodamine (uM) | cascade blue (uM) | NanoCym beads (1/mL) | double distilled water (uL) | PBS (uL)
A1 |  | nan | nan | nan | 5 | 0 | 0 | 0 | 0 | 200
A10 |  | nan | nan | nan | 0.0097656 | 0 | 0 | 0 | 0 | 200
A11 |  | nan | nan | nan | 0.0048828 | 0 | 0 | 0 | 0 | 200
A12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 0 | 200
A2 |  | nan | nan | nan | 2.5 | 0 | 0 | 0 | 0 | 200
A3 |  | nan | nan | nan | 1.25 | 0 | 0 | 0 | 0 | 200
A4 |  | nan | nan | nan | 0.625 | 0 | 0 | 0 | 0 | 200
A5 |  | nan | nan | nan | 0.3125 | 0 | 0 | 0 | 0 | 200
A6 |  | nan | nan | nan | 0.15625 | 0 | 0 | 0 | 0 | 200
A7 |  | nan | nan | nan | 0.078125 | 0 | 0 | 0 | 0 | 200
A8 |  | nan | nan | nan | 0.039062 | 0 | 0 | 0 | 0 | 200
A9 |  | nan | nan | nan | 0.019531 | 0 | 0 | 0 | 0 | 200
B1 |  | nan | nan | nan | 5 | 0 | 0 | 0 | 0 | 200
B10 |  | nan | nan | nan | 0.0097656 | 0 | 0 | 0 | 0 | 200
B11 |  | nan | nan | nan | 0.0048828 | 0 | 0 | 0 | 0 | 200
B12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 0 | 200
B2 |  | nan | nan | nan | 2.5 | 0 | 0 | 0 | 0 | 200
B3 |  | nan | nan | nan | 1.25 | 0 | 0 | 0 | 0 | 200
B4 |  | nan | nan | nan | 0.625 | 0 | 0 | 0 | 0 | 200
B5 |  | nan | nan | nan | 0.3125 | 0 | 0 | 0 | 0 | 200
B6 |  | nan | nan | nan | 0.15625 | 0 | 0 | 0 | 0 | 200
B7 |  | nan | nan | nan | 0.078125 | 0 | 0 | 0 | 0 | 200
B8 |  | nan | nan | nan | 0.039062 | 0 | 0 | 0 | 0 | 200
B9 |  | nan | nan | nan | 0.019531 | 0 | 0 | 0 | 0 | 200
C1 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 1 | 0 | 0 | 0 | 200
C10 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0019531 | 0 | 0 | 0 | 200
C11 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.00097656 | 0 | 0 | 0 | 200
C12 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0 | 0 | 0 | 0 | 200
C2 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.5 | 0 | 0 | 0 | 200
C3 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.25 | 0 | 0 | 0 | 200
C4 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.125 | 0 | 0 | 0 | 200
C5 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0625 | 0 | 0 | 0 | 200
C6 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.03125 | 0 | 0 | 0 | 200
C7 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.015625 | 0 | 0 | 0 | 200
C8 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0078125 | 0 | 0 | 0 | 200
C9 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0039062 | 0 | 0 | 0 | 200
D1 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 1 | 0 | 0 | 0 | 200
D10 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0019531 | 0 | 0 | 0 | 200
D11 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.00097656 | 0 | 0 | 0 | 200
D12 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0 | 0 | 0 | 0 | 200
D2 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.5 | 0 | 0 | 0 | 200
D3 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.25 | 0 | 0 | 0 | 200
D4 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.125 | 0 | 0 | 0 | 200
D5 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0625 | 0 | 0 | 0 | 200
D6 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.03125 | 0 | 0 | 0 | 200
D7 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.015625 | 0 | 0 | 0 | 200
D8 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0078125 | 0 | 0 | 0 | 200
D9 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0039062 | 0 | 0 | 0 | 200
E1 |  | nan | nan | nan | 0 | 0 | 5 | 0 | 200 | 0
E10 |  | nan | nan | nan | 0 | 0 | 0.0097656 | 0 | 200 | 0
E11 |  | nan | nan | nan | 0 | 0 | 0.0048828 | 0 | 200 | 0
E12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 200 | 0
E2 |  | nan | nan | nan | 0 | 0 | 2.5 | 0 | 200 | 0
E3 |  | nan | nan | nan | 0 | 0 | 1.25 | 0 | 200 | 0
E4 |  | nan | nan | nan | 0 | 0 | 0.625 | 0 | 200 | 0
E5 |  | nan | nan | nan | 0 | 0 | 0.3125 | 0 | 200 | 0
E6 |  | nan | nan | nan | 0 | 0 | 0.15625 | 0 | 200 | 0
E7 |  | nan | nan | nan | 0 | 0 | 0.078125 | 0 | 200 | 0
E8 |  | nan | nan | nan | 0 | 0 | 0.039062 | 0 | 200 | 0
E9 |  | nan | nan | nan | 0 | 0 | 0.019531 | 0 | 200 | 0
F1 |  | nan | nan | nan | 0 | 0 | 5 | 0 | 200 | 0
F10 |  | nan | nan | nan | 0 | 0 | 0.0097656 | 0 | 200 | 0
F11 |  | nan | nan | nan | 0 | 0 | 0.0048828 | 0 | 200 | 0
F12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 200 | 0
F2 |  | nan | nan | nan | 0 | 0 | 2.5 | 0 | 200 | 0
F3 |  | nan | nan | nan | 0 | 0 | 1.25 | 0 | 200 | 0
F4 |  | nan | nan | nan | 0 | 0 | 0.625 | 0 | 200 | 0
F5 |  | nan | nan | nan | 0 | 0 | 0.3125 | 0 | 200 | 0
F6 |  | nan | nan | nan | 0 | 0 | 0.15625 | 0 | 200 | 0
F7 |  | nan | nan | nan | 0 | 0 | 0.078125 | 0 | 200 | 0
F8 |  | nan | nan | nan | 0 | 0 | 0.039062 | 0 | 200 | 0
F9 |  | nan | nan | nan | 0 | 0 | 0.019531 | 0 | 200 | 0
G1 |  | nan | nan | nan | 0 | 0 | 0 | 1500000000 | 200 | 0
G10 |  | nan | nan | nan | 0 | 0 | 0 | 2929687.5 | 200 | 0
G11 |  | nan | nan | nan | 0 | 0 | 0 | 1464843.75 | 200 | 0
G12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 200 | 0
G2 |  | nan | nan | nan | 0 | 0 | 0 | 750000000 | 200 | 0
G3 |  | nan | nan | nan | 0 | 0 | 0 | 375000000 | 200 | 0
G4 |  | nan | nan | nan | 0 | 0 | 0 | 187500000 | 200 | 0
G5 |  | nan | nan | nan | 0 | 0 | 0 | 93750000 | 200 | 0
G6 |  | nan | nan | nan | 0 | 0 | 0 | 46875000 | 200 | 0
G7 |  | nan | nan | nan | 0 | 0 | 0 | 23437500 | 200 | 0
G8 |  | nan | nan | nan | 0 | 0 | 0 | 11718750 | 200 | 0
G9 |  | nan | nan | nan | 0 | 0 | 0 | 5859375 | 200 | 0
H1 |  | nan | nan | nan | 0 | 0 | 0 | 1500000000 | 200 | 0
H10 |  | nan | nan | nan | 0 | 0 | 0 | 2929687.5 | 200 | 0
H11 |  | nan | nan | nan | 0 | 0 | 0 | 1464843.75 | 200 | 0
H12 |  | nan | nan | nan | 0 | 0 | 0 | 732421.875 | 200 | 0
H2 |  | nan | nan | nan | 0 | 0 | 0 | 750000000 | 200 | 0
H3 |  | nan | nan | nan | 0 | 0 | 0 | 375000000 | 200 | 0
H4 |  | nan | nan | nan | 0 | 0 | 0 | 187500000 | 200 | 0
H5 |  | nan | nan | nan | 0 | 0 | 0 | 93750000 | 200 | 0
H6 |  | nan | nan | nan | 0 | 0 | 0 | 46875000 | 200 | 0
H7 |  | nan | nan | nan | 0 | 0 | 0 | 23437500 | 200 | 0
H8 |  | nan | nan | nan | 0 | 0 | 0 | 11718750 | 200 | 0
H9 |  | nan | nan | nan | 0 | 0 | 0 | 5859375 | 200 | 0

## JoinMetadata_dataset_10
sample | MeasureFluorescence.measurements.716 | excitationWavelength | emissionWavelength | emissionBandpassWidth | fluoroscein (uM) | sulforhodamine (uM) | cascade blue (uM) | NanoCym beads (1/mL) | double distilled water (uL) | PBS (uL)
A1 |  | nan | nan | nan | 5 | 0 | 0 | 0 | 0 | 200
A10 |  | nan | nan | nan | 0.0097656 | 0 | 0 | 0 | 0 | 200
A11 |  | nan | nan | nan | 0.0048828 | 0 | 0 | 0 | 0 | 200
A12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 0 | 200
A2 |  | nan | nan | nan | 2.5 | 0 | 0 | 0 | 0 | 200
A3 |  | nan | nan | nan | 1.25 | 0 | 0 | 0 | 0 | 200
A4 |  | nan | nan | nan | 0.625 | 0 | 0 | 0 | 0 | 200
A5 |  | nan | nan | nan | 0.3125 | 0 | 0 | 0 | 0 | 200
A6 |  | nan | nan | nan | 0.15625 | 0 | 0 | 0 | 0 | 200
A7 |  | nan | nan | nan | 0.078125 | 0 | 0 | 0 | 0 | 200
A8 |  | nan | nan | nan | 0.039062 | 0 | 0 | 0 | 0 | 200
A9 |  | nan | nan | nan | 0.019531 | 0 | 0 | 0 | 0 | 200
B1 |  | nan | nan | nan | 5 | 0 | 0 | 0 | 0 | 200
B10 |  | nan | nan | nan | 0.0097656 | 0 | 0 | 0 | 0 | 200
B11 |  | nan | nan | nan | 0.0048828 | 0 | 0 | 0 | 0 | 200
B12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 0 | 200
B2 |  | nan | nan | nan | 2.5 | 0 | 0 | 0 | 0 | 200
B3 |  | nan | nan | nan | 1.25 | 0 | 0 | 0 | 0 | 200
B4 |  | nan | nan | nan | 0.625 | 0 | 0 | 0 | 0 | 200
B5 |  | nan | nan | nan | 0.3125 | 0 | 0 | 0 | 0 | 200
B6 |  | nan | nan | nan | 0.15625 | 0 | 0 | 0 | 0 | 200
B7 |  | nan | nan | nan | 0.078125 | 0 | 0 | 0 | 0 | 200
B8 |  | nan | nan | nan | 0.039062 | 0 | 0 | 0 | 0 | 200
B9 |  | nan | nan | nan | 0.019531 | 0 | 0 | 0 | 0 | 200
C1 |  | nan | nan | nan | 0 | 1 | 0 | 0 | 0 | 200
C10 |  | nan | nan | nan | 0 | 0.0019531 | 0 | 0 | 0 | 200
C11 |  | nan | nan | nan | 0 | 0.00097656 | 0 | 0 | 0 | 200
C12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 0 | 200
C2 |  | nan | nan | nan | 0 | 0.5 | 0 | 0 | 0 | 200
C3 |  | nan | nan | nan | 0 | 0.25 | 0 | 0 | 0 | 200
C4 |  | nan | nan | nan | 0 | 0.125 | 0 | 0 | 0 | 200
C5 |  | nan | nan | nan | 0 | 0.0625 | 0 | 0 | 0 | 200
C6 |  | nan | nan | nan | 0 | 0.03125 | 0 | 0 | 0 | 200
C7 |  | nan | nan | nan | 0 | 0.015625 | 0 | 0 | 0 | 200
C8 |  | nan | nan | nan | 0 | 0.0078125 | 0 | 0 | 0 | 200
C9 |  | nan | nan | nan | 0 | 0.0039062 | 0 | 0 | 0 | 200
D1 |  | nan | nan | nan | 0 | 1 | 0 | 0 | 0 | 200
D10 |  | nan | nan | nan | 0 | 0.0019531 | 0 | 0 | 0 | 200
D11 |  | nan | nan | nan | 0 | 0.00097656 | 0 | 0 | 0 | 200
D12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 0 | 200
D2 |  | nan | nan | nan | 0 | 0.5 | 0 | 0 | 0 | 200
D3 |  | nan | nan | nan | 0 | 0.25 | 0 | 0 | 0 | 200
D4 |  | nan | nan | nan | 0 | 0.125 | 0 | 0 | 0 | 200
D5 |  | nan | nan | nan | 0 | 0.0625 | 0 | 0 | 0 | 200
D6 |  | nan | nan | nan | 0 | 0.03125 | 0 | 0 | 0 | 200
D7 |  | nan | nan | nan | 0 | 0.015625 | 0 | 0 | 0 | 200
D8 |  | nan | nan | nan | 0 | 0.0078125 | 0 | 0 | 0 | 200
D9 |  | nan | nan | nan | 0 | 0.0039062 | 0 | 0 | 0 | 200
E1 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 5 | 0 | 200 | 0
E10 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.0097656 | 0 | 200 | 0
E11 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.0048828 | 0 | 200 | 0
E12 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0 | 0 | 200 | 0
E2 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 2.5 | 0 | 200 | 0
E3 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 1.25 | 0 | 200 | 0
E4 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.625 | 0 | 200 | 0
E5 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.3125 | 0 | 200 | 0
E6 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.15625 | 0 | 200 | 0
E7 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.078125 | 0 | 200 | 0
E8 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.039062 | 0 | 200 | 0
E9 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.019531 | 0 | 200 | 0
F1 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 5 | 0 | 200 | 0
F10 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.0097656 | 0 | 200 | 0
F11 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.0048828 | 0 | 200 | 0
F12 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0 | 0 | 200 | 0
F2 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 2.5 | 0 | 200 | 0
F3 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 1.25 | 0 | 200 | 0
F4 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.625 | 0 | 200 | 0
F5 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.3125 | 0 | 200 | 0
F6 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.15625 | 0 | 200 | 0
F7 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.078125 | 0 | 200 | 0
F8 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.039062 | 0 | 200 | 0
F9 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.019531 | 0 | 200 | 0
G1 |  | nan | nan | nan | 0 | 0 | 0 | 1500000000 | 200 | 0
G10 |  | nan | nan | nan | 0 | 0 | 0 | 2929687.5 | 200 | 0
G11 |  | nan | nan | nan | 0 | 0 | 0 | 1464843.75 | 200 | 0
G12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 200 | 0
G2 |  | nan | nan | nan | 0 | 0 | 0 | 750000000 | 200 | 0
G3 |  | nan | nan | nan | 0 | 0 | 0 | 375000000 | 200 | 0
G4 |  | nan | nan | nan | 0 | 0 | 0 | 187500000 | 200 | 0
G5 |  | nan | nan | nan | 0 | 0 | 0 | 93750000 | 200 | 0
G6 |  | nan | nan | nan | 0 | 0 | 0 | 46875000 | 200 | 0
G7 |  | nan | nan | nan | 0 | 0 | 0 | 23437500 | 200 | 0
G8 |  | nan | nan | nan | 0 | 0 | 0 | 11718750 | 200 | 0
G9 |  | nan | nan | nan | 0 | 0 | 0 | 5859375 | 200 | 0
H1 |  | nan | nan | nan | 0 | 0 | 0 | 1500000000 | 200 | 0
H10 |  | nan | nan | nan | 0 | 0 | 0 | 2929687.5 | 200 | 0
H11 |  | nan | nan | nan | 0 | 0 | 0 | 1464843.75 | 200 | 0
H12 |  | nan | nan | nan | 0 | 0 | 0 | 732421.875 | 200 | 0
H2 |  | nan | nan | nan | 0 | 0 | 0 | 750000000 | 200 | 0
H3 |  | nan | nan | nan | 0 | 0 | 0 | 375000000 | 200 | 0
H4 |  | nan | nan | nan | 0 | 0 | 0 | 187500000 | 200 | 0
H5 |  | nan | nan | nan | 0 | 0 | 0 | 93750000 | 200 | 0
H6 |  | nan | nan | nan | 0 | 0 | 0 | 46875000 | 200 | 0
H7 |  | nan | nan | nan | 0 | 0 | 0 | 23437500 | 200 | 0
H8 |  | nan | nan | nan | 0 | 0 | 0 | 11718750 | 200 | 0
H9 |  | nan | nan | nan | 0 | 0 | 0 | 5859375 | 200 | 0

## JoinMetadata_dataset_11
sample | MeasureAbsorbance.measurements.723 | wavelength | fluoroscein (uM) | sulforhodamine (uM) | cascade blue (uM) | NanoCym beads (1/mL) | double distilled water (uL) | PBS (uL)
A1 |  | nan | 5 | 0 | 0 | 0 | 0 | 200
A10 |  | nan | 0.0097656 | 0 | 0 | 0 | 0 | 200
A11 |  | nan | 0.0048828 | 0 | 0 | 0 | 0 | 200
A12 |  | nan | 0 | 0 | 0 | 0 | 0 | 200
A2 |  | nan | 2.5 | 0 | 0 | 0 | 0 | 200
A3 |  | nan | 1.25 | 0 | 0 | 0 | 0 | 200
A4 |  | nan | 0.625 | 0 | 0 | 0 | 0 | 200
A5 |  | nan | 0.3125 | 0 | 0 | 0 | 0 | 200
A6 |  | nan | 0.15625 | 0 | 0 | 0 | 0 | 200
A7 |  | nan | 0.078125 | 0 | 0 | 0 | 0 | 200
A8 |  | nan | 0.039062 | 0 | 0 | 0 | 0 | 200
A9 |  | nan | 0.019531 | 0 | 0 | 0 | 0 | 200
B1 |  | nan | 5 | 0 | 0 | 0 | 0 | 200
B10 |  | nan | 0.0097656 | 0 | 0 | 0 | 0 | 200
B11 |  | nan | 0.0048828 | 0 | 0 | 0 | 0 | 200
B12 |  | nan | 0 | 0 | 0 | 0 | 0 | 200
B2 |  | nan | 2.5 | 0 | 0 | 0 | 0 | 200
B3 |  | nan | 1.25 | 0 | 0 | 0 | 0 | 200
B4 |  | nan | 0.625 | 0 | 0 | 0 | 0 | 200
B5 |  | nan | 0.3125 | 0 | 0 | 0 | 0 | 200
B6 |  | nan | 0.15625 | 0 | 0 | 0 | 0 | 200
B7 |  | nan | 0.078125 | 0 | 0 | 0 | 0 | 200
B8 |  | nan | 0.039062 | 0 | 0 | 0 | 0 | 200
B9 |  | nan | 0.019531 | 0 | 0 | 0 | 0 | 200
C1 |  | nan | 0 | 1 | 0 | 0 | 0 | 200
C10 |  | nan | 0 | 0.0019531 | 0 | 0 | 0 | 200
C11 |  | nan | 0 | 0.00097656 | 0 | 0 | 0 | 200
C12 |  | nan | 0 | 0 | 0 | 0 | 0 | 200
C2 |  | nan | 0 | 0.5 | 0 | 0 | 0 | 200
C3 |  | nan | 0 | 0.25 | 0 | 0 | 0 | 200
C4 |  | nan | 0 | 0.125 | 0 | 0 | 0 | 200
C5 |  | nan | 0 | 0.0625 | 0 | 0 | 0 | 200
C6 |  | nan | 0 | 0.03125 | 0 | 0 | 0 | 200
C7 |  | nan | 0 | 0.015625 | 0 | 0 | 0 | 200
C8 |  | nan | 0 | 0.0078125 | 0 | 0 | 0 | 200
C9 |  | nan | 0 | 0.0039062 | 0 | 0 | 0 | 200
D1 |  | nan | 0 | 1 | 0 | 0 | 0 | 200
D10 |  | nan | 0 | 0.0019531 | 0 | 0 | 0 | 200
D11 |  | nan | 0 | 0.00097656 | 0 | 0 | 0 | 200
D12 |  | nan | 0 | 0 | 0 | 0 | 0 | 200
D2 |  | nan | 0 | 0.5 | 0 | 0 | 0 | 200
D3 |  | nan | 0 | 0.25 | 0 | 0 | 0 | 200
D4 |  | nan | 0 | 0.125 | 0 | 0 | 0 | 200
D5 |  | nan | 0 | 0.0625 | 0 | 0 | 0 | 200
D6 |  | nan | 0 | 0.03125 | 0 | 0 | 0 | 200
D7 |  | nan | 0 | 0.015625 | 0 | 0 | 0 | 200
D8 |  | nan | 0 | 0.0078125 | 0 | 0 | 0 | 200
D9 |  | nan | 0 | 0.0039062 | 0 | 0 | 0 | 200
E1 |  | nan | 0 | 0 | 5 | 0 | 200 | 0
E10 |  | nan | 0 | 0 | 0.0097656 | 0 | 200 | 0
E11 |  | nan | 0 | 0 | 0.0048828 | 0 | 200 | 0
E12 |  | nan | 0 | 0 | 0 | 0 | 200 | 0
E2 |  | nan | 0 | 0 | 2.5 | 0 | 200 | 0
E3 |  | nan | 0 | 0 | 1.25 | 0 | 200 | 0
E4 |  | nan | 0 | 0 | 0.625 | 0 | 200 | 0
E5 |  | nan | 0 | 0 | 0.3125 | 0 | 200 | 0
E6 |  | nan | 0 | 0 | 0.15625 | 0 | 200 | 0
E7 |  | nan | 0 | 0 | 0.078125 | 0 | 200 | 0
E8 |  | nan | 0 | 0 | 0.039062 | 0 | 200 | 0
E9 |  | nan | 0 | 0 | 0.019531 | 0 | 200 | 0
F1 |  | nan | 0 | 0 | 5 | 0 | 200 | 0
F10 |  | nan | 0 | 0 | 0.0097656 | 0 | 200 | 0
F11 |  | nan | 0 | 0 | 0.0048828 | 0 | 200 | 0
F12 |  | nan | 0 | 0 | 0 | 0 | 200 | 0
F2 |  | nan | 0 | 0 | 2.5 | 0 | 200 | 0
F3 |  | nan | 0 | 0 | 1.25 | 0 | 200 | 0
F4 |  | nan | 0 | 0 | 0.625 | 0 | 200 | 0
F5 |  | nan | 0 | 0 | 0.3125 | 0 | 200 | 0
F6 |  | nan | 0 | 0 | 0.15625 | 0 | 200 | 0
F7 |  | nan | 0 | 0 | 0.078125 | 0 | 200 | 0
F8 |  | nan | 0 | 0 | 0.039062 | 0 | 200 | 0
F9 |  | nan | 0 | 0 | 0.019531 | 0 | 200 | 0
G1 |  | 600.0 nanometer | 0 | 0 | 0 | 1500000000 | 200 | 0
G10 |  | 600.0 nanometer | 0 | 0 | 0 | 2929687.5 | 200 | 0
G11 |  | 600.0 nanometer | 0 | 0 | 0 | 1464843.75 | 200 | 0
G12 |  | 600.0 nanometer | 0 | 0 | 0 | 0 | 200 | 0
G2 |  | 600.0 nanometer | 0 | 0 | 0 | 750000000 | 200 | 0
G3 |  | 600.0 nanometer | 0 | 0 | 0 | 375000000 | 200 | 0
G4 |  | 600.0 nanometer | 0 | 0 | 0 | 187500000 | 200 | 0
G5 |  | 600.0 nanometer | 0 | 0 | 0 | 93750000 | 200 | 0
G6 |  | 600.0 nanometer | 0 | 0 | 0 | 46875000 | 200 | 0
G7 |  | 600.0 nanometer | 0 | 0 | 0 | 23437500 | 200 | 0
G8 |  | 600.0 nanometer | 0 | 0 | 0 | 11718750 | 200 | 0
G9 |  | 600.0 nanometer | 0 | 0 | 0 | 5859375 | 200 | 0
H1 |  | 600.0 nanometer | 0 | 0 | 0 | 1500000000 | 200 | 0
H10 |  | 600.0 nanometer | 0 | 0 | 0 | 2929687.5 | 200 | 0
H11 |  | 600.0 nanometer | 0 | 0 | 0 | 1464843.75 | 200 | 0
H12 |  | 600.0 nanometer | 0 | 0 | 0 | 732421.875 | 200 | 0
H2 |  | 600.0 nanometer | 0 | 0 | 0 | 750000000 | 200 | 0
H3 |  | 600.0 nanometer | 0 | 0 | 0 | 375000000 | 200 | 0
H4 |  | 600.0 nanometer | 0 | 0 | 0 | 187500000 | 200 | 0
H5 |  | 600.0 nanometer | 0 | 0 | 0 | 93750000 | 200 | 0
H6 |  | 600.0 nanometer | 0 | 0 | 0 | 46875000 | 200 | 0
H7 |  | 600.0 nanometer | 0 | 0 | 0 | 23437500 | 200 | 0
H8 |  | 600.0 nanometer | 0 | 0 | 0 | 11718750 | 200 | 0
H9 |  | 600.0 nanometer | 0 | 0 | 0 | 5859375 | 200 | 0

## JoinDatasets_dataset_12
sample | MeasureFluorescence.measurements.736 | excitationWavelength | emissionWavelength | emissionBandpassWidth | fluoroscein (uM) | sulforhodamine (uM) | cascade blue (uM) | NanoCym beads (1/mL) | double distilled water (uL) | PBS (uL) | MeasureFluorescence.measurements.915 | MeasureFluorescence.measurements.716 | MeasureAbsorbance.measurements.723 | wavelength
A1 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 5 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
A10 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.0097656 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
A11 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.0048828 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
A12 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
A2 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 2.5 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
A3 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 1.25 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
A4 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.625 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
A5 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.3125 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
A6 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.15625 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
A7 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.078125 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
A8 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.039062 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
A9 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.019531 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
B1 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 5 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
B10 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.0097656 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
B11 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.0048828 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
B12 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
B2 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 2.5 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
B3 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 1.25 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
B4 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.625 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
B5 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.3125 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
B6 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.15625 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
B7 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.078125 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
B8 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.039062 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
B9 |  | 488.0 nanometer | 530.0 nanometer | 30.0 nanometer | 0.019531 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
C1 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 1 | 0 | 0 | 0 | 200 |  |  |  | nan
C10 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0019531 | 0 | 0 | 0 | 200 |  |  |  | nan
C11 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.00097656 | 0 | 0 | 0 | 200 |  |  |  | nan
C12 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
C2 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.5 | 0 | 0 | 0 | 200 |  |  |  | nan
C3 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.25 | 0 | 0 | 0 | 200 |  |  |  | nan
C4 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.125 | 0 | 0 | 0 | 200 |  |  |  | nan
C5 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0625 | 0 | 0 | 0 | 200 |  |  |  | nan
C6 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.03125 | 0 | 0 | 0 | 200 |  |  |  | nan
C7 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.015625 | 0 | 0 | 0 | 200 |  |  |  | nan
C8 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0078125 | 0 | 0 | 0 | 200 |  |  |  | nan
C9 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0039062 | 0 | 0 | 0 | 200 |  |  |  | nan
D1 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 1 | 0 | 0 | 0 | 200 |  |  |  | nan
D10 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0019531 | 0 | 0 | 0 | 200 |  |  |  | nan
D11 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.00097656 | 0 | 0 | 0 | 200 |  |  |  | nan
D12 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0 | 0 | 0 | 0 | 200 |  |  |  | nan
D2 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.5 | 0 | 0 | 0 | 200 |  |  |  | nan
D3 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.25 | 0 | 0 | 0 | 200 |  |  |  | nan
D4 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.125 | 0 | 0 | 0 | 200 |  |  |  | nan
D5 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0625 | 0 | 0 | 0 | 200 |  |  |  | nan
D6 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.03125 | 0 | 0 | 0 | 200 |  |  |  | nan
D7 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.015625 | 0 | 0 | 0 | 200 |  |  |  | nan
D8 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0078125 | 0 | 0 | 0 | 200 |  |  |  | nan
D9 |  | 561.0 nanometer | 610.0 nanometer | 20.0 nanometer | 0 | 0.0039062 | 0 | 0 | 0 | 200 |  |  |  | nan
E1 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 5 | 0 | 200 | 0 |  |  |  | nan
E10 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.0097656 | 0 | 200 | 0 |  |  |  | nan
E11 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.0048828 | 0 | 200 | 0 |  |  |  | nan
E12 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0 | 0 | 200 | 0 |  |  |  | nan
E2 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 2.5 | 0 | 200 | 0 |  |  |  | nan
E3 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 1.25 | 0 | 200 | 0 |  |  |  | nan
E4 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.625 | 0 | 200 | 0 |  |  |  | nan
E5 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.3125 | 0 | 200 | 0 |  |  |  | nan
E6 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.15625 | 0 | 200 | 0 |  |  |  | nan
E7 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.078125 | 0 | 200 | 0 |  |  |  | nan
E8 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.039062 | 0 | 200 | 0 |  |  |  | nan
E9 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.019531 | 0 | 200 | 0 |  |  |  | nan
F1 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 5 | 0 | 200 | 0 |  |  |  | nan
F10 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.0097656 | 0 | 200 | 0 |  |  |  | nan
F11 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.0048828 | 0 | 200 | 0 |  |  |  | nan
F12 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0 | 0 | 200 | 0 |  |  |  | nan
F2 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 2.5 | 0 | 200 | 0 |  |  |  | nan
F3 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 1.25 | 0 | 200 | 0 |  |  |  | nan
F4 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.625 | 0 | 200 | 0 |  |  |  | nan
F5 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.3125 | 0 | 200 | 0 |  |  |  | nan
F6 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.15625 | 0 | 200 | 0 |  |  |  | nan
F7 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.078125 | 0 | 200 | 0 |  |  |  | nan
F8 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.039062 | 0 | 200 | 0 |  |  |  | nan
F9 |  | 405.0 nanometer | 450.0 nanometer | 50.0 nanometer | 0 | 0 | 0.019531 | 0 | 200 | 0 |  |  |  | nan
G1 |  | nan | nan | nan | 0 | 0 | 0 | 1500000000 | 200 | 0 |  |  |  | 600.0 nanometer
G10 |  | nan | nan | nan | 0 | 0 | 0 | 2929687.5 | 200 | 0 |  |  |  | 600.0 nanometer
G11 |  | nan | nan | nan | 0 | 0 | 0 | 1464843.75 | 200 | 0 |  |  |  | 600.0 nanometer
G12 |  | nan | nan | nan | 0 | 0 | 0 | 0 | 200 | 0 |  |  |  | 600.0 nanometer
G2 |  | nan | nan | nan | 0 | 0 | 0 | 750000000 | 200 | 0 |  |  |  | 600.0 nanometer
G3 |  | nan | nan | nan | 0 | 0 | 0 | 375000000 | 200 | 0 |  |  |  | 600.0 nanometer
G4 |  | nan | nan | nan | 0 | 0 | 0 | 187500000 | 200 | 0 |  |  |  | 600.0 nanometer
G5 |  | nan | nan | nan | 0 | 0 | 0 | 93750000 | 200 | 0 |  |  |  | 600.0 nanometer
G6 |  | nan | nan | nan | 0 | 0 | 0 | 46875000 | 200 | 0 |  |  |  | 600.0 nanometer
G7 |  | nan | nan | nan | 0 | 0 | 0 | 23437500 | 200 | 0 |  |  |  | 600.0 nanometer
G8 |  | nan | nan | nan | 0 | 0 | 0 | 11718750 | 200 | 0 |  |  |  | 600.0 nanometer
G9 |  | nan | nan | nan | 0 | 0 | 0 | 5859375 | 200 | 0 |  |  |  | 600.0 nanometer
H1 |  | nan | nan | nan | 0 | 0 | 0 | 1500000000 | 200 | 0 |  |  |  | 600.0 nanometer
H10 |  | nan | nan | nan | 0 | 0 | 0 | 2929687.5 | 200 | 0 |  |  |  | 600.0 nanometer
H11 |  | nan | nan | nan | 0 | 0 | 0 | 1464843.75 | 200 | 0 |  |  |  | 600.0 nanometer
H12 |  | nan | nan | nan | 0 | 0 | 0 | 732421.875 | 200 | 0 |  |  |  | 600.0 nanometer
H2 |  | nan | nan | nan | 0 | 0 | 0 | 750000000 | 200 | 0 |  |  |  | 600.0 nanometer
H3 |  | nan | nan | nan | 0 | 0 | 0 | 375000000 | 200 | 0 |  |  |  | 600.0 nanometer
H4 |  | nan | nan | nan | 0 | 0 | 0 | 187500000 | 200 | 0 |  |  |  | 600.0 nanometer
H5 |  | nan | nan | nan | 0 | 0 | 0 | 93750000 | 200 | 0 |  |  |  | 600.0 nanometer
H6 |  | nan | nan | nan | 0 | 0 | 0 | 46875000 | 200 | 0 |  |  |  | 600.0 nanometer
H7 |  | nan | nan | nan | 0 | 0 | 0 | 23437500 | 200 | 0 |  |  |  | 600.0 nanometer
H8 |  | nan | nan | nan | 0 | 0 | 0 | 11718750 | 200 | 0 |  |  |  | 600.0 nanometer
H9 |  | nan | nan | nan | 0 | 0 | 0 | 5859375 | 200 | 0 |  |  |  | 600.0 nanometer