## MeasureFluorescence_dataset_0
container | location | MeasureFluorescence.measurements.296 | emissionWavelength | excitationWavelength | emissionBandpassWidth
calibration plate | A1 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| A2 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| A3 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| A4 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| A5 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| A6 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| A7 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| A8 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| A9 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| A10 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| A11 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| A12 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| B1 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| B2 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| B3 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| B4 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| B5 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| B6 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| B7 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| B8 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| B9 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| B10 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| B11 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer
| B12 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer

## MeasureFluorescence_data_1
container | location | MeasureFluorescence.measurements.296
calibration plate | A1
A2
A3
A4
A5
A6
A7
A8
A9
A10
A11
A12
B1
B2
B3
B4
B5
B6
B7
B8
B9
B10
B11
B12

## MeasureFluorescence_dataset_2
container | location | MeasureFluorescence.measurements.199 | emissionWavelength | emissionBandpassWidth | excitationWavelength
calibration plate | C1 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| C2 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| C3 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| C4 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| C5 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| C6 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| C7 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| C8 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| C9 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| C10 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| C11 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| C12 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| D1 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| D2 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| D3 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| D4 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| D5 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| D6 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| D7 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| D8 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| D9 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| D10 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| D11 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer
| D12 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer

## MeasureFluorescence_data_3
container | location | MeasureFluorescence.measurements.199
calibration plate | C1
C2
C3
C4
C5
C6
C7
C8
C9
C10
C11
C12
D1
D2
D3
D4
D5
D6
D7
D8
D9
D10
D11
D12

## MeasureFluorescence_dataset_4
container | location | MeasureFluorescence.measurements.571 | excitationWavelength | emissionBandpassWidth | emissionWavelength
calibration plate | E1 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| E2 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| E3 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| E4 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| E5 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| E6 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| E7 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| E8 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| E9 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| E10 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| E11 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| E12 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| F1 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| F2 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| F3 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| F4 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| F5 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| F6 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| F7 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| F8 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| F9 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| F10 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| F11 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer
| F12 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer

## MeasureFluorescence_data_5
container | location | MeasureFluorescence.measurements.571
calibration plate | E1
E2
E3
E4
E5
E6
E7
E8
E9
E10
E11
E12
F1
F2
F3
F4
F5
F6
F7
F8
F9
F10
F11
F12

## MeasureAbsorbance_dataset_6
container | location | MeasureAbsorbance.measurements.70 | wavelength
calibration plate | G1 |  | 600.0 nanometer
| G2 |  | 600.0 nanometer
| G3 |  | 600.0 nanometer
| G4 |  | 600.0 nanometer
| G5 |  | 600.0 nanometer
| G6 |  | 600.0 nanometer
| G7 |  | 600.0 nanometer
| G8 |  | 600.0 nanometer
| G9 |  | 600.0 nanometer
| G10 |  | 600.0 nanometer
| G11 |  | 600.0 nanometer
| G12 |  | 600.0 nanometer
| H1 |  | 600.0 nanometer
| H2 |  | 600.0 nanometer
| H3 |  | 600.0 nanometer
| H4 |  | 600.0 nanometer
| H5 |  | 600.0 nanometer
| H6 |  | 600.0 nanometer
| H7 |  | 600.0 nanometer
| H8 |  | 600.0 nanometer
| H9 |  | 600.0 nanometer
| H10 |  | 600.0 nanometer
| H11 |  | 600.0 nanometer
| H12 |  | 600.0 nanometer

## MeasureAbsorbance_data_7
container | location | MeasureAbsorbance.measurements.70
calibration plate | G1
G2
G3
G4
G5
G6
G7
G8
G9
G10
G11
G12
H1
H2
H3
H4
H5
H6
H7
H8
H9
H10
H11
H12

## JoinMetadata_dataset_8
container | location | MeasureFluorescence.measurements.296 | emissionWavelength | excitationWavelength | emissionBandpassWidth | Cascade Blue | Water, sterile-filtered, BioReagent, suitable for cell culture | Fluorescein | Phosphate Buffered Saline | NanoCym 950 nm monodisperse silica nanoparticles | Sulforhodamine | sample_location
calibration plate | A1 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 33.3333 | 166.6667 |  |  | sample_calibration plate_360
| A2 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 16.6667 | 183.3333 |  |  | sample_calibration plate_364
| A3 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 8.3333 | 191.6667 |  |  | sample_calibration plate_365
| A4 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 4.1667 | 195.8333 |  |  | sample_calibration plate_366
| A5 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 2.0833 | 197.9167 |  |  | sample_calibration plate_367
| A6 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 1.0417 | 198.9583 |  |  | sample_calibration plate_368
| A7 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 0.52083 | 199.4792 |  |  | sample_calibration plate_369
| A8 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 0.26042 | 199.7396 |  |  | sample_calibration plate_370
| A9 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 0.13021 | 199.8698 |  |  | sample_calibration plate_371
| A10 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 0.065104 | 199.9349 |  |  | sample_calibration plate_361
| A11 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 0.032552 | 199.9674 |  |  | sample_calibration plate_362
| A12 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | 200 |  |  | sample_calibration plate_363
| B1 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 33.3333 | 166.6667 |  |  | sample_calibration plate_372
| B2 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 16.6667 | 183.3333 |  |  | sample_calibration plate_376
| B3 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 8.3333 | 191.6667 |  |  | sample_calibration plate_377
| B4 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 4.1667 | 195.8333 |  |  | sample_calibration plate_378
| B5 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 2.0833 | 197.9167 |  |  | sample_calibration plate_379
| B6 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 1.0417 | 198.9583 |  |  | sample_calibration plate_380
| B7 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 0.52083 | 199.4792 |  |  | sample_calibration plate_381
| B8 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 0.26042 | 199.7396 |  |  | sample_calibration plate_382
| B9 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 0.13021 | 199.8698 |  |  | sample_calibration plate_383
| B10 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 0.065104 | 199.9349 |  |  | sample_calibration plate_373
| B11 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  | 0.032552 | 199.9674 |  |  | sample_calibration plate_374
| B12 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | 200 |  |  | sample_calibration plate_375
| C1 |  | nan | nan | nan |  |  |  | 166.6667 |  | 33.3333 | sample_calibration plate_384
| C2 |  | nan | nan | nan |  |  |  | 183.3333 |  | 16.6667 | sample_calibration plate_388
| C3 |  | nan | nan | nan |  |  |  | 191.6667 |  | 8.3333 | sample_calibration plate_389
| C4 |  | nan | nan | nan |  |  |  | 195.8333 |  | 4.1667 | sample_calibration plate_390
| C5 |  | nan | nan | nan |  |  |  | 197.9167 |  | 2.0833 | sample_calibration plate_391
| C6 |  | nan | nan | nan |  |  |  | 198.9583 |  | 1.0417 | sample_calibration plate_392
| C7 |  | nan | nan | nan |  |  |  | 199.4792 |  | 0.52083 | sample_calibration plate_393
| C8 |  | nan | nan | nan |  |  |  | 199.7396 |  | 0.26042 | sample_calibration plate_394
| C9 |  | nan | nan | nan |  |  |  | 199.8698 |  | 0.13021 | sample_calibration plate_395
| C10 |  | nan | nan | nan |  |  |  | 199.9349 |  | 0.065104 | sample_calibration plate_385
| C11 |  | nan | nan | nan |  |  |  | 199.9674 |  | 0.032552 | sample_calibration plate_386
| C12 |  | nan | nan | nan |  |  |  | 200 |  |  | sample_calibration plate_387
| D1 |  | nan | nan | nan |  |  |  | 166.6667 |  | 33.3333 | sample_calibration plate_396
| D2 |  | nan | nan | nan |  |  |  | 183.3333 |  | 16.6667 | sample_calibration plate_400
| D3 |  | nan | nan | nan |  |  |  | 191.6667 |  | 8.3333 | sample_calibration plate_401
| D4 |  | nan | nan | nan |  |  |  | 195.8333 |  | 4.1667 | sample_calibration plate_402
| D5 |  | nan | nan | nan |  |  |  | 197.9167 |  | 2.0833 | sample_calibration plate_403
| D6 |  | nan | nan | nan |  |  |  | 198.9583 |  | 1.0417 | sample_calibration plate_404
| D7 |  | nan | nan | nan |  |  |  | 199.4792 |  | 0.52083 | sample_calibration plate_405
| D8 |  | nan | nan | nan |  |  |  | 199.7396 |  | 0.26042 | sample_calibration plate_406
| D9 |  | nan | nan | nan |  |  |  | 199.8698 |  | 0.13021 | sample_calibration plate_407
| D10 |  | nan | nan | nan |  |  |  | 199.9349 |  | 0.065104 | sample_calibration plate_397
| D11 |  | nan | nan | nan |  |  |  | 199.9674 |  | 0.032552 | sample_calibration plate_398
| D12 |  | nan | nan | nan |  |  |  | 200 |  |  | sample_calibration plate_399
| E1 |  | nan | nan | nan | 33.3333 | 166.6667 |  |  |  |  | sample_calibration plate_408
| E2 |  | nan | nan | nan | 16.6667 | 183.3333 |  |  |  |  | sample_calibration plate_412
| E3 |  | nan | nan | nan | 8.3333 | 191.6667 |  |  |  |  | sample_calibration plate_413
| E4 |  | nan | nan | nan | 4.1667 | 195.8333 |  |  |  |  | sample_calibration plate_414
| E5 |  | nan | nan | nan | 2.0833 | 197.9167 |  |  |  |  | sample_calibration plate_415
| E6 |  | nan | nan | nan | 1.0417 | 198.9583 |  |  |  |  | sample_calibration plate_416
| E7 |  | nan | nan | nan | 0.52083 | 199.4792 |  |  |  |  | sample_calibration plate_417
| E8 |  | nan | nan | nan | 0.26042 | 199.7396 |  |  |  |  | sample_calibration plate_418
| E9 |  | nan | nan | nan | 0.13021 | 199.8698 |  |  |  |  | sample_calibration plate_419
| E10 |  | nan | nan | nan | 0.065104 | 199.9349 |  |  |  |  | sample_calibration plate_409
| E11 |  | nan | nan | nan | 0.032552 | 199.9674 |  |  |  |  | sample_calibration plate_410
| E12 |  | nan | nan | nan |  | 200 |  |  |  |  | sample_calibration plate_411
| F1 |  | nan | nan | nan | 33.3333 | 166.6667 |  |  |  |  | sample_calibration plate_420
| F2 |  | nan | nan | nan | 16.6667 | 183.3333 |  |  |  |  | sample_calibration plate_424
| F3 |  | nan | nan | nan | 8.3333 | 191.6667 |  |  |  |  | sample_calibration plate_425
| F4 |  | nan | nan | nan | 4.1667 | 195.8333 |  |  |  |  | sample_calibration plate_426
| F5 |  | nan | nan | nan | 2.0833 | 197.9167 |  |  |  |  | sample_calibration plate_427
| F6 |  | nan | nan | nan | 1.0417 | 198.9583 |  |  |  |  | sample_calibration plate_428
| F7 |  | nan | nan | nan | 0.52083 | 199.4792 |  |  |  |  | sample_calibration plate_429
| F8 |  | nan | nan | nan | 0.26042 | 199.7396 |  |  |  |  | sample_calibration plate_430
| F9 |  | nan | nan | nan | 0.13021 | 199.8698 |  |  |  |  | sample_calibration plate_431
| F10 |  | nan | nan | nan | 0.065104 | 199.9349 |  |  |  |  | sample_calibration plate_421
| F11 |  | nan | nan | nan | 0.032552 | 199.9674 |  |  |  |  | sample_calibration plate_422
| F12 |  | nan | nan | nan |  | 200 |  |  |  |  | sample_calibration plate_423
| G1 |  | nan | nan | nan |  | 166.6667 |  |  | 33.3333 |  | sample_calibration plate_432
| G2 |  | nan | nan | nan |  | 183.3333 |  |  | 16.6667 |  | sample_calibration plate_436
| G3 |  | nan | nan | nan |  | 191.6667 |  |  | 8.3333 |  | sample_calibration plate_437
| G4 |  | nan | nan | nan |  | 195.8333 |  |  | 4.1667 |  | sample_calibration plate_438
| G5 |  | nan | nan | nan |  | 197.9167 |  |  | 2.0833 |  | sample_calibration plate_439
| G6 |  | nan | nan | nan |  | 198.9583 |  |  | 1.0417 |  | sample_calibration plate_440
| G7 |  | nan | nan | nan |  | 199.4792 |  |  | 0.52083 |  | sample_calibration plate_441
| G8 |  | nan | nan | nan |  | 199.7396 |  |  | 0.26042 |  | sample_calibration plate_442
| G9 |  | nan | nan | nan |  | 199.8698 |  |  | 0.13021 |  | sample_calibration plate_443
| G10 |  | nan | nan | nan |  | 199.9349 |  |  | 0.065104 |  | sample_calibration plate_433
| G11 |  | nan | nan | nan |  | 199.9674 |  |  | 0.032552 |  | sample_calibration plate_434
| G12 |  | nan | nan | nan |  | 200 |  |  |  |  | sample_calibration plate_435
| H1 |  | nan | nan | nan |  | 166.6667 |  |  | 33.3333 |  | sample_calibration plate_444
| H2 |  | nan | nan | nan |  | 183.3333 |  |  | 16.6667 |  | sample_calibration plate_448
| H3 |  | nan | nan | nan |  | 191.6667 |  |  | 8.3333 |  | sample_calibration plate_449
| H4 |  | nan | nan | nan |  | 195.8333 |  |  | 4.1667 |  | sample_calibration plate_450
| H5 |  | nan | nan | nan |  | 197.9167 |  |  | 2.0833 |  | sample_calibration plate_451
| H6 |  | nan | nan | nan |  | 198.9583 |  |  | 1.0417 |  | sample_calibration plate_452
| H7 |  | nan | nan | nan |  | 199.4792 |  |  | 0.52083 |  | sample_calibration plate_453
| H8 |  | nan | nan | nan |  | 199.7396 |  |  | 0.26042 |  | sample_calibration plate_454
| H9 |  | nan | nan | nan |  | 199.8698 |  |  | 0.13021 |  | sample_calibration plate_455
| H10 |  | nan | nan | nan |  | 199.9349 |  |  | 0.065104 |  | sample_calibration plate_445
| H11 |  | nan | nan | nan |  | 199.9674 |  |  | 0.032552 |  | sample_calibration plate_446
| H12 |  | nan | nan | nan |  | 200 |  |  |  |  | sample_calibration plate_447

## JoinMetadata_dataset_9
container | location | MeasureFluorescence.measurements.199 | emissionWavelength | emissionBandpassWidth | excitationWavelength | Cascade Blue | Water, sterile-filtered, BioReagent, suitable for cell culture | Fluorescein | Phosphate Buffered Saline | NanoCym 950 nm monodisperse silica nanoparticles | Sulforhodamine | sample_location
calibration plate | A1 |  | nan | nan | nan |  |  | 33.3333 | 166.6667 |  |  | sample_calibration plate_360
| A2 |  | nan | nan | nan |  |  | 16.6667 | 183.3333 |  |  | sample_calibration plate_364
| A3 |  | nan | nan | nan |  |  | 8.3333 | 191.6667 |  |  | sample_calibration plate_365
| A4 |  | nan | nan | nan |  |  | 4.1667 | 195.8333 |  |  | sample_calibration plate_366
| A5 |  | nan | nan | nan |  |  | 2.0833 | 197.9167 |  |  | sample_calibration plate_367
| A6 |  | nan | nan | nan |  |  | 1.0417 | 198.9583 |  |  | sample_calibration plate_368
| A7 |  | nan | nan | nan |  |  | 0.52083 | 199.4792 |  |  | sample_calibration plate_369
| A8 |  | nan | nan | nan |  |  | 0.26042 | 199.7396 |  |  | sample_calibration plate_370
| A9 |  | nan | nan | nan |  |  | 0.13021 | 199.8698 |  |  | sample_calibration plate_371
| A10 |  | nan | nan | nan |  |  | 0.065104 | 199.9349 |  |  | sample_calibration plate_361
| A11 |  | nan | nan | nan |  |  | 0.032552 | 199.9674 |  |  | sample_calibration plate_362
| A12 |  | nan | nan | nan |  |  |  | 200 |  |  | sample_calibration plate_363
| B1 |  | nan | nan | nan |  |  | 33.3333 | 166.6667 |  |  | sample_calibration plate_372
| B2 |  | nan | nan | nan |  |  | 16.6667 | 183.3333 |  |  | sample_calibration plate_376
| B3 |  | nan | nan | nan |  |  | 8.3333 | 191.6667 |  |  | sample_calibration plate_377
| B4 |  | nan | nan | nan |  |  | 4.1667 | 195.8333 |  |  | sample_calibration plate_378
| B5 |  | nan | nan | nan |  |  | 2.0833 | 197.9167 |  |  | sample_calibration plate_379
| B6 |  | nan | nan | nan |  |  | 1.0417 | 198.9583 |  |  | sample_calibration plate_380
| B7 |  | nan | nan | nan |  |  | 0.52083 | 199.4792 |  |  | sample_calibration plate_381
| B8 |  | nan | nan | nan |  |  | 0.26042 | 199.7396 |  |  | sample_calibration plate_382
| B9 |  | nan | nan | nan |  |  | 0.13021 | 199.8698 |  |  | sample_calibration plate_383
| B10 |  | nan | nan | nan |  |  | 0.065104 | 199.9349 |  |  | sample_calibration plate_373
| B11 |  | nan | nan | nan |  |  | 0.032552 | 199.9674 |  |  | sample_calibration plate_374
| B12 |  | nan | nan | nan |  |  |  | 200 |  |  | sample_calibration plate_375
| C1 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 166.6667 |  | 33.3333 | sample_calibration plate_384
| C2 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 183.3333 |  | 16.6667 | sample_calibration plate_388
| C3 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 191.6667 |  | 8.3333 | sample_calibration plate_389
| C4 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 195.8333 |  | 4.1667 | sample_calibration plate_390
| C5 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 197.9167 |  | 2.0833 | sample_calibration plate_391
| C6 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 198.9583 |  | 1.0417 | sample_calibration plate_392
| C7 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 199.4792 |  | 0.52083 | sample_calibration plate_393
| C8 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 199.7396 |  | 0.26042 | sample_calibration plate_394
| C9 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 199.8698 |  | 0.13021 | sample_calibration plate_395
| C10 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 199.9349 |  | 0.065104 | sample_calibration plate_385
| C11 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 199.9674 |  | 0.032552 | sample_calibration plate_386
| C12 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 200 |  |  | sample_calibration plate_387
| D1 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 166.6667 |  | 33.3333 | sample_calibration plate_396
| D2 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 183.3333 |  | 16.6667 | sample_calibration plate_400
| D3 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 191.6667 |  | 8.3333 | sample_calibration plate_401
| D4 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 195.8333 |  | 4.1667 | sample_calibration plate_402
| D5 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 197.9167 |  | 2.0833 | sample_calibration plate_403
| D6 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 198.9583 |  | 1.0417 | sample_calibration plate_404
| D7 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 199.4792 |  | 0.52083 | sample_calibration plate_405
| D8 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 199.7396 |  | 0.26042 | sample_calibration plate_406
| D9 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 199.8698 |  | 0.13021 | sample_calibration plate_407
| D10 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 199.9349 |  | 0.065104 | sample_calibration plate_397
| D11 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 199.9674 |  | 0.032552 | sample_calibration plate_398
| D12 |  | 610.0 nanometer | 20.0 nanometer | 561.0 nanometer |  |  |  | 200 |  |  | sample_calibration plate_399
| E1 |  | nan | nan | nan | 33.3333 | 166.6667 |  |  |  |  | sample_calibration plate_408
| E2 |  | nan | nan | nan | 16.6667 | 183.3333 |  |  |  |  | sample_calibration plate_412
| E3 |  | nan | nan | nan | 8.3333 | 191.6667 |  |  |  |  | sample_calibration plate_413
| E4 |  | nan | nan | nan | 4.1667 | 195.8333 |  |  |  |  | sample_calibration plate_414
| E5 |  | nan | nan | nan | 2.0833 | 197.9167 |  |  |  |  | sample_calibration plate_415
| E6 |  | nan | nan | nan | 1.0417 | 198.9583 |  |  |  |  | sample_calibration plate_416
| E7 |  | nan | nan | nan | 0.52083 | 199.4792 |  |  |  |  | sample_calibration plate_417
| E8 |  | nan | nan | nan | 0.26042 | 199.7396 |  |  |  |  | sample_calibration plate_418
| E9 |  | nan | nan | nan | 0.13021 | 199.8698 |  |  |  |  | sample_calibration plate_419
| E10 |  | nan | nan | nan | 0.065104 | 199.9349 |  |  |  |  | sample_calibration plate_409
| E11 |  | nan | nan | nan | 0.032552 | 199.9674 |  |  |  |  | sample_calibration plate_410
| E12 |  | nan | nan | nan |  | 200 |  |  |  |  | sample_calibration plate_411
| F1 |  | nan | nan | nan | 33.3333 | 166.6667 |  |  |  |  | sample_calibration plate_420
| F2 |  | nan | nan | nan | 16.6667 | 183.3333 |  |  |  |  | sample_calibration plate_424
| F3 |  | nan | nan | nan | 8.3333 | 191.6667 |  |  |  |  | sample_calibration plate_425
| F4 |  | nan | nan | nan | 4.1667 | 195.8333 |  |  |  |  | sample_calibration plate_426
| F5 |  | nan | nan | nan | 2.0833 | 197.9167 |  |  |  |  | sample_calibration plate_427
| F6 |  | nan | nan | nan | 1.0417 | 198.9583 |  |  |  |  | sample_calibration plate_428
| F7 |  | nan | nan | nan | 0.52083 | 199.4792 |  |  |  |  | sample_calibration plate_429
| F8 |  | nan | nan | nan | 0.26042 | 199.7396 |  |  |  |  | sample_calibration plate_430
| F9 |  | nan | nan | nan | 0.13021 | 199.8698 |  |  |  |  | sample_calibration plate_431
| F10 |  | nan | nan | nan | 0.065104 | 199.9349 |  |  |  |  | sample_calibration plate_421
| F11 |  | nan | nan | nan | 0.032552 | 199.9674 |  |  |  |  | sample_calibration plate_422
| F12 |  | nan | nan | nan |  | 200 |  |  |  |  | sample_calibration plate_423
| G1 |  | nan | nan | nan |  | 166.6667 |  |  | 33.3333 |  | sample_calibration plate_432
| G2 |  | nan | nan | nan |  | 183.3333 |  |  | 16.6667 |  | sample_calibration plate_436
| G3 |  | nan | nan | nan |  | 191.6667 |  |  | 8.3333 |  | sample_calibration plate_437
| G4 |  | nan | nan | nan |  | 195.8333 |  |  | 4.1667 |  | sample_calibration plate_438
| G5 |  | nan | nan | nan |  | 197.9167 |  |  | 2.0833 |  | sample_calibration plate_439
| G6 |  | nan | nan | nan |  | 198.9583 |  |  | 1.0417 |  | sample_calibration plate_440
| G7 |  | nan | nan | nan |  | 199.4792 |  |  | 0.52083 |  | sample_calibration plate_441
| G8 |  | nan | nan | nan |  | 199.7396 |  |  | 0.26042 |  | sample_calibration plate_442
| G9 |  | nan | nan | nan |  | 199.8698 |  |  | 0.13021 |  | sample_calibration plate_443
| G10 |  | nan | nan | nan |  | 199.9349 |  |  | 0.065104 |  | sample_calibration plate_433
| G11 |  | nan | nan | nan |  | 199.9674 |  |  | 0.032552 |  | sample_calibration plate_434
| G12 |  | nan | nan | nan |  | 200 |  |  |  |  | sample_calibration plate_435
| H1 |  | nan | nan | nan |  | 166.6667 |  |  | 33.3333 |  | sample_calibration plate_444
| H2 |  | nan | nan | nan |  | 183.3333 |  |  | 16.6667 |  | sample_calibration plate_448
| H3 |  | nan | nan | nan |  | 191.6667 |  |  | 8.3333 |  | sample_calibration plate_449
| H4 |  | nan | nan | nan |  | 195.8333 |  |  | 4.1667 |  | sample_calibration plate_450
| H5 |  | nan | nan | nan |  | 197.9167 |  |  | 2.0833 |  | sample_calibration plate_451
| H6 |  | nan | nan | nan |  | 198.9583 |  |  | 1.0417 |  | sample_calibration plate_452
| H7 |  | nan | nan | nan |  | 199.4792 |  |  | 0.52083 |  | sample_calibration plate_453
| H8 |  | nan | nan | nan |  | 199.7396 |  |  | 0.26042 |  | sample_calibration plate_454
| H9 |  | nan | nan | nan |  | 199.8698 |  |  | 0.13021 |  | sample_calibration plate_455
| H10 |  | nan | nan | nan |  | 199.9349 |  |  | 0.065104 |  | sample_calibration plate_445
| H11 |  | nan | nan | nan |  | 199.9674 |  |  | 0.032552 |  | sample_calibration plate_446
| H12 |  | nan | nan | nan |  | 200 |  |  |  |  | sample_calibration plate_447

## JoinMetadata_dataset_10
container | location | MeasureFluorescence.measurements.571 | excitationWavelength | emissionBandpassWidth | emissionWavelength | Cascade Blue | Water, sterile-filtered, BioReagent, suitable for cell culture | Fluorescein | Phosphate Buffered Saline | NanoCym 950 nm monodisperse silica nanoparticles | Sulforhodamine | sample_location
calibration plate | A1 |  | nan | nan | nan |  |  | 33.3333 | 166.6667 |  |  | sample_calibration plate_360
| A2 |  | nan | nan | nan |  |  | 16.6667 | 183.3333 |  |  | sample_calibration plate_364
| A3 |  | nan | nan | nan |  |  | 8.3333 | 191.6667 |  |  | sample_calibration plate_365
| A4 |  | nan | nan | nan |  |  | 4.1667 | 195.8333 |  |  | sample_calibration plate_366
| A5 |  | nan | nan | nan |  |  | 2.0833 | 197.9167 |  |  | sample_calibration plate_367
| A6 |  | nan | nan | nan |  |  | 1.0417 | 198.9583 |  |  | sample_calibration plate_368
| A7 |  | nan | nan | nan |  |  | 0.52083 | 199.4792 |  |  | sample_calibration plate_369
| A8 |  | nan | nan | nan |  |  | 0.26042 | 199.7396 |  |  | sample_calibration plate_370
| A9 |  | nan | nan | nan |  |  | 0.13021 | 199.8698 |  |  | sample_calibration plate_371
| A10 |  | nan | nan | nan |  |  | 0.065104 | 199.9349 |  |  | sample_calibration plate_361
| A11 |  | nan | nan | nan |  |  | 0.032552 | 199.9674 |  |  | sample_calibration plate_362
| A12 |  | nan | nan | nan |  |  |  | 200 |  |  | sample_calibration plate_363
| B1 |  | nan | nan | nan |  |  | 33.3333 | 166.6667 |  |  | sample_calibration plate_372
| B2 |  | nan | nan | nan |  |  | 16.6667 | 183.3333 |  |  | sample_calibration plate_376
| B3 |  | nan | nan | nan |  |  | 8.3333 | 191.6667 |  |  | sample_calibration plate_377
| B4 |  | nan | nan | nan |  |  | 4.1667 | 195.8333 |  |  | sample_calibration plate_378
| B5 |  | nan | nan | nan |  |  | 2.0833 | 197.9167 |  |  | sample_calibration plate_379
| B6 |  | nan | nan | nan |  |  | 1.0417 | 198.9583 |  |  | sample_calibration plate_380
| B7 |  | nan | nan | nan |  |  | 0.52083 | 199.4792 |  |  | sample_calibration plate_381
| B8 |  | nan | nan | nan |  |  | 0.26042 | 199.7396 |  |  | sample_calibration plate_382
| B9 |  | nan | nan | nan |  |  | 0.13021 | 199.8698 |  |  | sample_calibration plate_383
| B10 |  | nan | nan | nan |  |  | 0.065104 | 199.9349 |  |  | sample_calibration plate_373
| B11 |  | nan | nan | nan |  |  | 0.032552 | 199.9674 |  |  | sample_calibration plate_374
| B12 |  | nan | nan | nan |  |  |  | 200 |  |  | sample_calibration plate_375
| C1 |  | nan | nan | nan |  |  |  | 166.6667 |  | 33.3333 | sample_calibration plate_384
| C2 |  | nan | nan | nan |  |  |  | 183.3333 |  | 16.6667 | sample_calibration plate_388
| C3 |  | nan | nan | nan |  |  |  | 191.6667 |  | 8.3333 | sample_calibration plate_389
| C4 |  | nan | nan | nan |  |  |  | 195.8333 |  | 4.1667 | sample_calibration plate_390
| C5 |  | nan | nan | nan |  |  |  | 197.9167 |  | 2.0833 | sample_calibration plate_391
| C6 |  | nan | nan | nan |  |  |  | 198.9583 |  | 1.0417 | sample_calibration plate_392
| C7 |  | nan | nan | nan |  |  |  | 199.4792 |  | 0.52083 | sample_calibration plate_393
| C8 |  | nan | nan | nan |  |  |  | 199.7396 |  | 0.26042 | sample_calibration plate_394
| C9 |  | nan | nan | nan |  |  |  | 199.8698 |  | 0.13021 | sample_calibration plate_395
| C10 |  | nan | nan | nan |  |  |  | 199.9349 |  | 0.065104 | sample_calibration plate_385
| C11 |  | nan | nan | nan |  |  |  | 199.9674 |  | 0.032552 | sample_calibration plate_386
| C12 |  | nan | nan | nan |  |  |  | 200 |  |  | sample_calibration plate_387
| D1 |  | nan | nan | nan |  |  |  | 166.6667 |  | 33.3333 | sample_calibration plate_396
| D2 |  | nan | nan | nan |  |  |  | 183.3333 |  | 16.6667 | sample_calibration plate_400
| D3 |  | nan | nan | nan |  |  |  | 191.6667 |  | 8.3333 | sample_calibration plate_401
| D4 |  | nan | nan | nan |  |  |  | 195.8333 |  | 4.1667 | sample_calibration plate_402
| D5 |  | nan | nan | nan |  |  |  | 197.9167 |  | 2.0833 | sample_calibration plate_403
| D6 |  | nan | nan | nan |  |  |  | 198.9583 |  | 1.0417 | sample_calibration plate_404
| D7 |  | nan | nan | nan |  |  |  | 199.4792 |  | 0.52083 | sample_calibration plate_405
| D8 |  | nan | nan | nan |  |  |  | 199.7396 |  | 0.26042 | sample_calibration plate_406
| D9 |  | nan | nan | nan |  |  |  | 199.8698 |  | 0.13021 | sample_calibration plate_407
| D10 |  | nan | nan | nan |  |  |  | 199.9349 |  | 0.065104 | sample_calibration plate_397
| D11 |  | nan | nan | nan |  |  |  | 199.9674 |  | 0.032552 | sample_calibration plate_398
| D12 |  | nan | nan | nan |  |  |  | 200 |  |  | sample_calibration plate_399
| E1 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 33.3333 | 166.6667 |  |  |  |  | sample_calibration plate_408
| E2 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 16.6667 | 183.3333 |  |  |  |  | sample_calibration plate_412
| E3 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 8.3333 | 191.6667 |  |  |  |  | sample_calibration plate_413
| E4 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 4.1667 | 195.8333 |  |  |  |  | sample_calibration plate_414
| E5 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 2.0833 | 197.9167 |  |  |  |  | sample_calibration plate_415
| E6 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 1.0417 | 198.9583 |  |  |  |  | sample_calibration plate_416
| E7 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 0.52083 | 199.4792 |  |  |  |  | sample_calibration plate_417
| E8 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 0.26042 | 199.7396 |  |  |  |  | sample_calibration plate_418
| E9 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 0.13021 | 199.8698 |  |  |  |  | sample_calibration plate_419
| E10 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 0.065104 | 199.9349 |  |  |  |  | sample_calibration plate_409
| E11 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 0.032552 | 199.9674 |  |  |  |  | sample_calibration plate_410
| E12 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer |  | 200 |  |  |  |  | sample_calibration plate_411
| F1 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 33.3333 | 166.6667 |  |  |  |  | sample_calibration plate_420
| F2 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 16.6667 | 183.3333 |  |  |  |  | sample_calibration plate_424
| F3 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 8.3333 | 191.6667 |  |  |  |  | sample_calibration plate_425
| F4 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 4.1667 | 195.8333 |  |  |  |  | sample_calibration plate_426
| F5 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 2.0833 | 197.9167 |  |  |  |  | sample_calibration plate_427
| F6 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 1.0417 | 198.9583 |  |  |  |  | sample_calibration plate_428
| F7 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 0.52083 | 199.4792 |  |  |  |  | sample_calibration plate_429
| F8 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 0.26042 | 199.7396 |  |  |  |  | sample_calibration plate_430
| F9 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 0.13021 | 199.8698 |  |  |  |  | sample_calibration plate_431
| F10 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 0.065104 | 199.9349 |  |  |  |  | sample_calibration plate_421
| F11 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer | 0.032552 | 199.9674 |  |  |  |  | sample_calibration plate_422
| F12 |  | 405.0 nanometer | 50.0 nanometer | 450.0 nanometer |  | 200 |  |  |  |  | sample_calibration plate_423
| G1 |  | nan | nan | nan |  | 166.6667 |  |  | 33.3333 |  | sample_calibration plate_432
| G2 |  | nan | nan | nan |  | 183.3333 |  |  | 16.6667 |  | sample_calibration plate_436
| G3 |  | nan | nan | nan |  | 191.6667 |  |  | 8.3333 |  | sample_calibration plate_437
| G4 |  | nan | nan | nan |  | 195.8333 |  |  | 4.1667 |  | sample_calibration plate_438
| G5 |  | nan | nan | nan |  | 197.9167 |  |  | 2.0833 |  | sample_calibration plate_439
| G6 |  | nan | nan | nan |  | 198.9583 |  |  | 1.0417 |  | sample_calibration plate_440
| G7 |  | nan | nan | nan |  | 199.4792 |  |  | 0.52083 |  | sample_calibration plate_441
| G8 |  | nan | nan | nan |  | 199.7396 |  |  | 0.26042 |  | sample_calibration plate_442
| G9 |  | nan | nan | nan |  | 199.8698 |  |  | 0.13021 |  | sample_calibration plate_443
| G10 |  | nan | nan | nan |  | 199.9349 |  |  | 0.065104 |  | sample_calibration plate_433
| G11 |  | nan | nan | nan |  | 199.9674 |  |  | 0.032552 |  | sample_calibration plate_434
| G12 |  | nan | nan | nan |  | 200 |  |  |  |  | sample_calibration plate_435
| H1 |  | nan | nan | nan |  | 166.6667 |  |  | 33.3333 |  | sample_calibration plate_444
| H2 |  | nan | nan | nan |  | 183.3333 |  |  | 16.6667 |  | sample_calibration plate_448
| H3 |  | nan | nan | nan |  | 191.6667 |  |  | 8.3333 |  | sample_calibration plate_449
| H4 |  | nan | nan | nan |  | 195.8333 |  |  | 4.1667 |  | sample_calibration plate_450
| H5 |  | nan | nan | nan |  | 197.9167 |  |  | 2.0833 |  | sample_calibration plate_451
| H6 |  | nan | nan | nan |  | 198.9583 |  |  | 1.0417 |  | sample_calibration plate_452
| H7 |  | nan | nan | nan |  | 199.4792 |  |  | 0.52083 |  | sample_calibration plate_453
| H8 |  | nan | nan | nan |  | 199.7396 |  |  | 0.26042 |  | sample_calibration plate_454
| H9 |  | nan | nan | nan |  | 199.8698 |  |  | 0.13021 |  | sample_calibration plate_455
| H10 |  | nan | nan | nan |  | 199.9349 |  |  | 0.065104 |  | sample_calibration plate_445
| H11 |  | nan | nan | nan |  | 199.9674 |  |  | 0.032552 |  | sample_calibration plate_446
| H12 |  | nan | nan | nan |  | 200 |  |  |  |  | sample_calibration plate_447

## JoinMetadata_dataset_11
container | location | MeasureAbsorbance.measurements.70 | wavelength | Cascade Blue | Water, sterile-filtered, BioReagent, suitable for cell culture | Fluorescein | Phosphate Buffered Saline | NanoCym 950 nm monodisperse silica nanoparticles | Sulforhodamine | sample_location
calibration plate | A1 |  | nan |  |  | 33.3333 | 166.6667 |  |  | sample_calibration plate_360
| A2 |  | nan |  |  | 16.6667 | 183.3333 |  |  | sample_calibration plate_364
| A3 |  | nan |  |  | 8.3333 | 191.6667 |  |  | sample_calibration plate_365
| A4 |  | nan |  |  | 4.1667 | 195.8333 |  |  | sample_calibration plate_366
| A5 |  | nan |  |  | 2.0833 | 197.9167 |  |  | sample_calibration plate_367
| A6 |  | nan |  |  | 1.0417 | 198.9583 |  |  | sample_calibration plate_368
| A7 |  | nan |  |  | 0.52083 | 199.4792 |  |  | sample_calibration plate_369
| A8 |  | nan |  |  | 0.26042 | 199.7396 |  |  | sample_calibration plate_370
| A9 |  | nan |  |  | 0.13021 | 199.8698 |  |  | sample_calibration plate_371
| A10 |  | nan |  |  | 0.065104 | 199.9349 |  |  | sample_calibration plate_361
| A11 |  | nan |  |  | 0.032552 | 199.9674 |  |  | sample_calibration plate_362
| A12 |  | nan |  |  |  | 200 |  |  | sample_calibration plate_363
| B1 |  | nan |  |  | 33.3333 | 166.6667 |  |  | sample_calibration plate_372
| B2 |  | nan |  |  | 16.6667 | 183.3333 |  |  | sample_calibration plate_376
| B3 |  | nan |  |  | 8.3333 | 191.6667 |  |  | sample_calibration plate_377
| B4 |  | nan |  |  | 4.1667 | 195.8333 |  |  | sample_calibration plate_378
| B5 |  | nan |  |  | 2.0833 | 197.9167 |  |  | sample_calibration plate_379
| B6 |  | nan |  |  | 1.0417 | 198.9583 |  |  | sample_calibration plate_380
| B7 |  | nan |  |  | 0.52083 | 199.4792 |  |  | sample_calibration plate_381
| B8 |  | nan |  |  | 0.26042 | 199.7396 |  |  | sample_calibration plate_382
| B9 |  | nan |  |  | 0.13021 | 199.8698 |  |  | sample_calibration plate_383
| B10 |  | nan |  |  | 0.065104 | 199.9349 |  |  | sample_calibration plate_373
| B11 |  | nan |  |  | 0.032552 | 199.9674 |  |  | sample_calibration plate_374
| B12 |  | nan |  |  |  | 200 |  |  | sample_calibration plate_375
| C1 |  | nan |  |  |  | 166.6667 |  | 33.3333 | sample_calibration plate_384
| C2 |  | nan |  |  |  | 183.3333 |  | 16.6667 | sample_calibration plate_388
| C3 |  | nan |  |  |  | 191.6667 |  | 8.3333 | sample_calibration plate_389
| C4 |  | nan |  |  |  | 195.8333 |  | 4.1667 | sample_calibration plate_390
| C5 |  | nan |  |  |  | 197.9167 |  | 2.0833 | sample_calibration plate_391
| C6 |  | nan |  |  |  | 198.9583 |  | 1.0417 | sample_calibration plate_392
| C7 |  | nan |  |  |  | 199.4792 |  | 0.52083 | sample_calibration plate_393
| C8 |  | nan |  |  |  | 199.7396 |  | 0.26042 | sample_calibration plate_394
| C9 |  | nan |  |  |  | 199.8698 |  | 0.13021 | sample_calibration plate_395
| C10 |  | nan |  |  |  | 199.9349 |  | 0.065104 | sample_calibration plate_385
| C11 |  | nan |  |  |  | 199.9674 |  | 0.032552 | sample_calibration plate_386
| C12 |  | nan |  |  |  | 200 |  |  | sample_calibration plate_387
| D1 |  | nan |  |  |  | 166.6667 |  | 33.3333 | sample_calibration plate_396
| D2 |  | nan |  |  |  | 183.3333 |  | 16.6667 | sample_calibration plate_400
| D3 |  | nan |  |  |  | 191.6667 |  | 8.3333 | sample_calibration plate_401
| D4 |  | nan |  |  |  | 195.8333 |  | 4.1667 | sample_calibration plate_402
| D5 |  | nan |  |  |  | 197.9167 |  | 2.0833 | sample_calibration plate_403
| D6 |  | nan |  |  |  | 198.9583 |  | 1.0417 | sample_calibration plate_404
| D7 |  | nan |  |  |  | 199.4792 |  | 0.52083 | sample_calibration plate_405
| D8 |  | nan |  |  |  | 199.7396 |  | 0.26042 | sample_calibration plate_406
| D9 |  | nan |  |  |  | 199.8698 |  | 0.13021 | sample_calibration plate_407
| D10 |  | nan |  |  |  | 199.9349 |  | 0.065104 | sample_calibration plate_397
| D11 |  | nan |  |  |  | 199.9674 |  | 0.032552 | sample_calibration plate_398
| D12 |  | nan |  |  |  | 200 |  |  | sample_calibration plate_399
| E1 |  | nan | 33.3333 | 166.6667 |  |  |  |  | sample_calibration plate_408
| E2 |  | nan | 16.6667 | 183.3333 |  |  |  |  | sample_calibration plate_412
| E3 |  | nan | 8.3333 | 191.6667 |  |  |  |  | sample_calibration plate_413
| E4 |  | nan | 4.1667 | 195.8333 |  |  |  |  | sample_calibration plate_414
| E5 |  | nan | 2.0833 | 197.9167 |  |  |  |  | sample_calibration plate_415
| E6 |  | nan | 1.0417 | 198.9583 |  |  |  |  | sample_calibration plate_416
| E7 |  | nan | 0.52083 | 199.4792 |  |  |  |  | sample_calibration plate_417
| E8 |  | nan | 0.26042 | 199.7396 |  |  |  |  | sample_calibration plate_418
| E9 |  | nan | 0.13021 | 199.8698 |  |  |  |  | sample_calibration plate_419
| E10 |  | nan | 0.065104 | 199.9349 |  |  |  |  | sample_calibration plate_409
| E11 |  | nan | 0.032552 | 199.9674 |  |  |  |  | sample_calibration plate_410
| E12 |  | nan |  | 200 |  |  |  |  | sample_calibration plate_411
| F1 |  | nan | 33.3333 | 166.6667 |  |  |  |  | sample_calibration plate_420
| F2 |  | nan | 16.6667 | 183.3333 |  |  |  |  | sample_calibration plate_424
| F3 |  | nan | 8.3333 | 191.6667 |  |  |  |  | sample_calibration plate_425
| F4 |  | nan | 4.1667 | 195.8333 |  |  |  |  | sample_calibration plate_426
| F5 |  | nan | 2.0833 | 197.9167 |  |  |  |  | sample_calibration plate_427
| F6 |  | nan | 1.0417 | 198.9583 |  |  |  |  | sample_calibration plate_428
| F7 |  | nan | 0.52083 | 199.4792 |  |  |  |  | sample_calibration plate_429
| F8 |  | nan | 0.26042 | 199.7396 |  |  |  |  | sample_calibration plate_430
| F9 |  | nan | 0.13021 | 199.8698 |  |  |  |  | sample_calibration plate_431
| F10 |  | nan | 0.065104 | 199.9349 |  |  |  |  | sample_calibration plate_421
| F11 |  | nan | 0.032552 | 199.9674 |  |  |  |  | sample_calibration plate_422
| F12 |  | nan |  | 200 |  |  |  |  | sample_calibration plate_423
| G1 |  | 600.0 nanometer |  | 166.6667 |  |  | 33.3333 |  | sample_calibration plate_432
| G2 |  | 600.0 nanometer |  | 183.3333 |  |  | 16.6667 |  | sample_calibration plate_436
| G3 |  | 600.0 nanometer |  | 191.6667 |  |  | 8.3333 |  | sample_calibration plate_437
| G4 |  | 600.0 nanometer |  | 195.8333 |  |  | 4.1667 |  | sample_calibration plate_438
| G5 |  | 600.0 nanometer |  | 197.9167 |  |  | 2.0833 |  | sample_calibration plate_439
| G6 |  | 600.0 nanometer |  | 198.9583 |  |  | 1.0417 |  | sample_calibration plate_440
| G7 |  | 600.0 nanometer |  | 199.4792 |  |  | 0.52083 |  | sample_calibration plate_441
| G8 |  | 600.0 nanometer |  | 199.7396 |  |  | 0.26042 |  | sample_calibration plate_442
| G9 |  | 600.0 nanometer |  | 199.8698 |  |  | 0.13021 |  | sample_calibration plate_443
| G10 |  | 600.0 nanometer |  | 199.9349 |  |  | 0.065104 |  | sample_calibration plate_433
| G11 |  | 600.0 nanometer |  | 199.9674 |  |  | 0.032552 |  | sample_calibration plate_434
| G12 |  | 600.0 nanometer |  | 200 |  |  |  |  | sample_calibration plate_435
| H1 |  | 600.0 nanometer |  | 166.6667 |  |  | 33.3333 |  | sample_calibration plate_444
| H2 |  | 600.0 nanometer |  | 183.3333 |  |  | 16.6667 |  | sample_calibration plate_448
| H3 |  | 600.0 nanometer |  | 191.6667 |  |  | 8.3333 |  | sample_calibration plate_449
| H4 |  | 600.0 nanometer |  | 195.8333 |  |  | 4.1667 |  | sample_calibration plate_450
| H5 |  | 600.0 nanometer |  | 197.9167 |  |  | 2.0833 |  | sample_calibration plate_451
| H6 |  | 600.0 nanometer |  | 198.9583 |  |  | 1.0417 |  | sample_calibration plate_452
| H7 |  | 600.0 nanometer |  | 199.4792 |  |  | 0.52083 |  | sample_calibration plate_453
| H8 |  | 600.0 nanometer |  | 199.7396 |  |  | 0.26042 |  | sample_calibration plate_454
| H9 |  | 600.0 nanometer |  | 199.8698 |  |  | 0.13021 |  | sample_calibration plate_455
| H10 |  | 600.0 nanometer |  | 199.9349 |  |  | 0.065104 |  | sample_calibration plate_445
| H11 |  | 600.0 nanometer |  | 199.9674 |  |  | 0.032552 |  | sample_calibration plate_446
| H12 |  | 600.0 nanometer |  | 200 |  |  |  |  | sample_calibration plate_447

## JoinDatasets_dataset_12
container | location | MeasureFluorescence.measurements.296 | emissionWavelength | excitationWavelength | emissionBandpassWidth | MeasureFluorescence.measurements.199 | MeasureFluorescence.measurements.571 | MeasureAbsorbance.measurements.70 | wavelength | Cascade Blue | Water, sterile-filtered, BioReagent, suitable for cell culture | Fluorescein | Phosphate Buffered Saline | NanoCym 950 nm monodisperse silica nanoparticles | Sulforhodamine | sample_location
calibration plate | A1 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 33.3333 | 166.6667 |  |  | sample_calibration plate_360
| A2 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 16.6667 | 183.3333 |  |  | sample_calibration plate_364
| A3 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 8.3333 | 191.6667 |  |  | sample_calibration plate_365
| A4 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 4.1667 | 195.8333 |  |  | sample_calibration plate_366
| A5 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 2.0833 | 197.9167 |  |  | sample_calibration plate_367
| A6 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 1.0417 | 198.9583 |  |  | sample_calibration plate_368
| A7 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 0.52083 | 199.4792 |  |  | sample_calibration plate_369
| A8 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 0.26042 | 199.7396 |  |  | sample_calibration plate_370
| A9 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 0.13021 | 199.8698 |  |  | sample_calibration plate_371
| A10 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 0.065104 | 199.9349 |  |  | sample_calibration plate_361
| A11 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 0.032552 | 199.9674 |  |  | sample_calibration plate_362
| A12 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  |  | 200 |  |  | sample_calibration plate_363
| B1 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 33.3333 | 166.6667 |  |  | sample_calibration plate_372
| B2 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 16.6667 | 183.3333 |  |  | sample_calibration plate_376
| B3 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 8.3333 | 191.6667 |  |  | sample_calibration plate_377
| B4 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 4.1667 | 195.8333 |  |  | sample_calibration plate_378
| B5 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 2.0833 | 197.9167 |  |  | sample_calibration plate_379
| B6 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 1.0417 | 198.9583 |  |  | sample_calibration plate_380
| B7 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 0.52083 | 199.4792 |  |  | sample_calibration plate_381
| B8 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 0.26042 | 199.7396 |  |  | sample_calibration plate_382
| B9 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 0.13021 | 199.8698 |  |  | sample_calibration plate_383
| B10 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 0.065104 | 199.9349 |  |  | sample_calibration plate_373
| B11 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  | 0.032552 | 199.9674 |  |  | sample_calibration plate_374
| B12 |  | 530.0 nanometer | 488.0 nanometer | 30.0 nanometer |  |  |  | nan |  |  |  | 200 |  |  | sample_calibration plate_375
| C1 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 166.6667 |  | 33.3333 | sample_calibration plate_384
| C2 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 183.3333 |  | 16.6667 | sample_calibration plate_388
| C3 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 191.6667 |  | 8.3333 | sample_calibration plate_389
| C4 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 195.8333 |  | 4.1667 | sample_calibration plate_390
| C5 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 197.9167 |  | 2.0833 | sample_calibration plate_391
| C6 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 198.9583 |  | 1.0417 | sample_calibration plate_392
| C7 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 199.4792 |  | 0.52083 | sample_calibration plate_393
| C8 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 199.7396 |  | 0.26042 | sample_calibration plate_394
| C9 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 199.8698 |  | 0.13021 | sample_calibration plate_395
| C10 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 199.9349 |  | 0.065104 | sample_calibration plate_385
| C11 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 199.9674 |  | 0.032552 | sample_calibration plate_386
| C12 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 200 |  |  | sample_calibration plate_387
| D1 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 166.6667 |  | 33.3333 | sample_calibration plate_396
| D2 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 183.3333 |  | 16.6667 | sample_calibration plate_400
| D3 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 191.6667 |  | 8.3333 | sample_calibration plate_401
| D4 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 195.8333 |  | 4.1667 | sample_calibration plate_402
| D5 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 197.9167 |  | 2.0833 | sample_calibration plate_403
| D6 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 198.9583 |  | 1.0417 | sample_calibration plate_404
| D7 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 199.4792 |  | 0.52083 | sample_calibration plate_405
| D8 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 199.7396 |  | 0.26042 | sample_calibration plate_406
| D9 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 199.8698 |  | 0.13021 | sample_calibration plate_407
| D10 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 199.9349 |  | 0.065104 | sample_calibration plate_397
| D11 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 199.9674 |  | 0.032552 | sample_calibration plate_398
| D12 |  | 610.0 nanometer | 561.0 nanometer | 20.0 nanometer |  |  |  | nan |  |  |  | 200 |  |  | sample_calibration plate_399
| E1 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 33.3333 | 166.6667 |  |  |  |  | sample_calibration plate_408
| E2 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 16.6667 | 183.3333 |  |  |  |  | sample_calibration plate_412
| E3 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 8.3333 | 191.6667 |  |  |  |  | sample_calibration plate_413
| E4 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 4.1667 | 195.8333 |  |  |  |  | sample_calibration plate_414
| E5 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 2.0833 | 197.9167 |  |  |  |  | sample_calibration plate_415
| E6 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 1.0417 | 198.9583 |  |  |  |  | sample_calibration plate_416
| E7 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 0.52083 | 199.4792 |  |  |  |  | sample_calibration plate_417
| E8 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 0.26042 | 199.7396 |  |  |  |  | sample_calibration plate_418
| E9 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 0.13021 | 199.8698 |  |  |  |  | sample_calibration plate_419
| E10 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 0.065104 | 199.9349 |  |  |  |  | sample_calibration plate_409
| E11 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 0.032552 | 199.9674 |  |  |  |  | sample_calibration plate_410
| E12 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan |  | 200 |  |  |  |  | sample_calibration plate_411
| F1 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 33.3333 | 166.6667 |  |  |  |  | sample_calibration plate_420
| F2 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 16.6667 | 183.3333 |  |  |  |  | sample_calibration plate_424
| F3 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 8.3333 | 191.6667 |  |  |  |  | sample_calibration plate_425
| F4 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 4.1667 | 195.8333 |  |  |  |  | sample_calibration plate_426
| F5 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 2.0833 | 197.9167 |  |  |  |  | sample_calibration plate_427
| F6 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 1.0417 | 198.9583 |  |  |  |  | sample_calibration plate_428
| F7 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 0.52083 | 199.4792 |  |  |  |  | sample_calibration plate_429
| F8 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 0.26042 | 199.7396 |  |  |  |  | sample_calibration plate_430
| F9 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 0.13021 | 199.8698 |  |  |  |  | sample_calibration plate_431
| F10 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 0.065104 | 199.9349 |  |  |  |  | sample_calibration plate_421
| F11 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan | 0.032552 | 199.9674 |  |  |  |  | sample_calibration plate_422
| F12 |  | 450.0 nanometer | 405.0 nanometer | 50.0 nanometer |  |  |  | nan |  | 200 |  |  |  |  | sample_calibration plate_423
| G1 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 166.6667 |  |  | 33.3333 |  | sample_calibration plate_432
| G2 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 183.3333 |  |  | 16.6667 |  | sample_calibration plate_436
| G3 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 191.6667 |  |  | 8.3333 |  | sample_calibration plate_437
| G4 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 195.8333 |  |  | 4.1667 |  | sample_calibration plate_438
| G5 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 197.9167 |  |  | 2.0833 |  | sample_calibration plate_439
| G6 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 198.9583 |  |  | 1.0417 |  | sample_calibration plate_440
| G7 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 199.4792 |  |  | 0.52083 |  | sample_calibration plate_441
| G8 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 199.7396 |  |  | 0.26042 |  | sample_calibration plate_442
| G9 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 199.8698 |  |  | 0.13021 |  | sample_calibration plate_443
| G10 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 199.9349 |  |  | 0.065104 |  | sample_calibration plate_433
| G11 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 199.9674 |  |  | 0.032552 |  | sample_calibration plate_434
| G12 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 200 |  |  |  |  | sample_calibration plate_435
| H1 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 166.6667 |  |  | 33.3333 |  | sample_calibration plate_444
| H2 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 183.3333 |  |  | 16.6667 |  | sample_calibration plate_448
| H3 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 191.6667 |  |  | 8.3333 |  | sample_calibration plate_449
| H4 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 195.8333 |  |  | 4.1667 |  | sample_calibration plate_450
| H5 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 197.9167 |  |  | 2.0833 |  | sample_calibration plate_451
| H6 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 198.9583 |  |  | 1.0417 |  | sample_calibration plate_452
| H7 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 199.4792 |  |  | 0.52083 |  | sample_calibration plate_453
| H8 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 199.7396 |  |  | 0.26042 |  | sample_calibration plate_454
| H9 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 199.8698 |  |  | 0.13021 |  | sample_calibration plate_455
| H10 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 199.9349 |  |  | 0.065104 |  | sample_calibration plate_445
| H11 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 199.9674 |  |  | 0.032552 |  | sample_calibration plate_446
| H12 |  | nan | nan | nan |  |  |  | 600.0 nanometer |  | 200 |  |  |  |  | sample_calibration plate_447