## MeasureAbsorbance_data_0
| container | location | MeasureAbsorbance.measurements.448
0 | calibration plate | A1 | 0.031
1 | calibration plate | C1 | 0.018
2 | calibration plate | D1 | 0.02
3 | calibration plate | D2 | 0.019
4 | calibration plate | E1 | 0.02
5 | calibration plate | F1 | 0.022
6 | calibration plate | G1 | 0.023
7 | calibration plate | H1 | 0.023
8 | calibration plate | A2 | 0.02
9 | calibration plate | B2 | 0.02
10 | calibration plate | C2 | 0.02
11 | calibration plate | B1 | 0.041

## MeasureAbsorbance_dataset_1
| container | location | MeasureAbsorbance.measurements.448 | wavelength
0 | calibration plate | A1 | 0.031 | 600.0 nanometer
1 | calibration plate | A2 | 0.02 | 600.0 nanometer
2 | calibration plate | B1 | 0.041 | 600.0 nanometer
3 | calibration plate | B2 | 0.02 | 600.0 nanometer
4 | calibration plate | C1 | 0.018 | 600.0 nanometer
5 | calibration plate | C2 | 0.02 | 600.0 nanometer
6 | calibration plate | D1 | 0.02 | 600.0 nanometer
7 | calibration plate | D2 | 0.019 | 600.0 nanometer
8 | calibration plate | E1 | 0.02 | 600.0 nanometer
9 | calibration plate | F1 | 0.022 | 600.0 nanometer
10 | calibration plate | G1 | 0.023 | 600.0 nanometer
11 | calibration plate | H1 | 0.023 | 600.0 nanometer

## JoinMetadata_dataset_2
| container | location | MeasureAbsorbance.measurements.448 | wavelength | Water, sterile-filtered, BioReagent, suitable for cell culture | NanoCym 950 nm monodisperse silica nanoparticles | sample_location
0 | calibration plate | A1 | 0.031 | 600.0 nanometer | 99.8004 | 0.1996 | sample_calibration plate_108
1 | calibration plate | A2 | 0.02 | 600.0 nanometer | 99.9992 | 0.00077969 | sample_calibration plate_124
2 | calibration plate | A3 |  | nan |  |  | sample_None_16
3 | calibration plate | A4 |  | nan |  |  | sample_None_24
4 | calibration plate | A5 |  | nan |  |  | sample_None_32
5 | calibration plate | A6 |  | nan |  |  | sample_None_40
6 | calibration plate | A7 |  | nan |  |  | sample_None_48
7 | calibration plate | A8 |  | nan |  |  | sample_None_56
8 | calibration plate | A9 |  | nan |  |  | sample_None_64
9 | calibration plate | A10 |  | nan |  |  | sample_None_72
10 | calibration plate | A11 |  | nan |  |  | sample_None_80
11 | calibration plate | A12 |  | nan |  |  | sample_None_88
12 | calibration plate | B1 | 0.041 | 600.0 nanometer | 99.9002 | 0.0998 | sample_calibration plate_110
13 | calibration plate | B2 | 0.02 | 600.0 nanometer | 99.9996 | 0.00038985 | sample_calibration plate_126
14 | calibration plate | B3 |  | nan |  |  | sample_None_17
15 | calibration plate | B4 |  | nan |  |  | sample_None_25
16 | calibration plate | B5 |  | nan |  |  | sample_None_33
17 | calibration plate | B6 |  | nan |  |  | sample_None_41
18 | calibration plate | B7 |  | nan |  |  | sample_None_49
19 | calibration plate | B8 |  | nan |  |  | sample_None_57
20 | calibration plate | B9 |  | nan |  |  | sample_None_65
21 | calibration plate | B10 |  | nan |  |  | sample_None_73
22 | calibration plate | B11 |  | nan |  |  | sample_None_81
23 | calibration plate | B12 |  | nan |  |  | sample_None_89
24 | calibration plate | C1 | 0.018 | 600.0 nanometer | 99.9501 | 0.0499 | sample_calibration plate_112
25 | calibration plate | C2 | 0.02 | 600.0 nanometer | 99.9998 | 0.00019492 | sample_calibration plate_128
26 | calibration plate | C3 |  | nan |  |  | sample_None_18
27 | calibration plate | C4 |  | nan |  |  | sample_None_26
28 | calibration plate | C5 |  | nan |  |  | sample_None_34
29 | calibration plate | C6 |  | nan |  |  | sample_None_42
30 | calibration plate | C7 |  | nan |  |  | sample_None_50
31 | calibration plate | C8 |  | nan |  |  | sample_None_58
32 | calibration plate | C9 |  | nan |  |  | sample_None_66
33 | calibration plate | C10 |  | nan |  |  | sample_None_74
34 | calibration plate | C11 |  | nan |  |  | sample_None_82
35 | calibration plate | C12 |  | nan |  |  | sample_None_90
36 | calibration plate | D1 | 0.02 | 600.0 nanometer | 99.975 | 0.02495 | sample_calibration plate_114
37 | calibration plate | D2 | 0.019 | 600.0 nanometer | 99.8004 | 0.1996 | sample_calibration plate_107
38 | calibration plate | D3 |  | nan |  |  | sample_None_19
39 | calibration plate | D4 |  | nan |  |  | sample_None_27
40 | calibration plate | D5 |  | nan |  |  | sample_None_35
41 | calibration plate | D6 |  | nan |  |  | sample_None_43
42 | calibration plate | D7 |  | nan |  |  | sample_None_51
43 | calibration plate | D8 |  | nan |  |  | sample_None_59
44 | calibration plate | D9 |  | nan |  |  | sample_None_67
45 | calibration plate | D10 |  | nan |  |  | sample_None_75
46 | calibration plate | D11 |  | nan |  |  | sample_None_83
47 | calibration plate | D12 |  | nan |  |  | sample_None_91
48 | calibration plate | E1 | 0.02 | 600.0 nanometer | 99.9875 | 0.012475 | sample_calibration plate_116
49 | calibration plate | E2 |  | nan |  |  | sample_None_12
50 | calibration plate | E3 |  | nan |  |  | sample_None_20
51 | calibration plate | E4 |  | nan |  |  | sample_None_28
52 | calibration plate | E5 |  | nan |  |  | sample_None_36
53 | calibration plate | E6 |  | nan |  |  | sample_None_44
54 | calibration plate | E7 |  | nan |  |  | sample_None_52
55 | calibration plate | E8 |  | nan |  |  | sample_None_60
56 | calibration plate | E9 |  | nan |  |  | sample_None_68
57 | calibration plate | E10 |  | nan |  |  | sample_None_76
58 | calibration plate | E11 |  | nan |  |  | sample_None_84
59 | calibration plate | E12 |  | nan |  |  | sample_None_92
60 | calibration plate | F1 | 0.022 | 600.0 nanometer | 99.9938 | 0.0062375 | sample_calibration plate_118
61 | calibration plate | F2 |  | nan |  |  | sample_None_13
62 | calibration plate | F3 |  | nan |  |  | sample_None_21
63 | calibration plate | F4 |  | nan |  |  | sample_None_29
64 | calibration plate | F5 |  | nan |  |  | sample_None_37
65 | calibration plate | F6 |  | nan |  |  | sample_None_45
66 | calibration plate | F7 |  | nan |  |  | sample_None_53
67 | calibration plate | F8 |  | nan |  |  | sample_None_61
68 | calibration plate | F9 |  | nan |  |  | sample_None_69
69 | calibration plate | F10 |  | nan |  |  | sample_None_77
70 | calibration plate | F11 |  | nan |  |  | sample_None_85
71 | calibration plate | F12 |  | nan |  |  | sample_None_93
72 | calibration plate | G1 | 0.023 | 600.0 nanometer | 99.9969 | 0.0031188 | sample_calibration plate_120
73 | calibration plate | G2 |  | nan |  |  | sample_None_14
74 | calibration plate | G3 |  | nan |  |  | sample_None_22
75 | calibration plate | G4 |  | nan |  |  | sample_None_30
76 | calibration plate | G5 |  | nan |  |  | sample_None_38
77 | calibration plate | G6 |  | nan |  |  | sample_None_46
78 | calibration plate | G7 |  | nan |  |  | sample_None_54
79 | calibration plate | G8 |  | nan |  |  | sample_None_62
80 | calibration plate | G9 |  | nan |  |  | sample_None_70
81 | calibration plate | G10 |  | nan |  |  | sample_None_78
82 | calibration plate | G11 |  | nan |  |  | sample_None_86
83 | calibration plate | G12 |  | nan |  |  | sample_None_94
84 | calibration plate | H1 | 0.023 | 600.0 nanometer | 99.9984 | 0.0015594 | sample_calibration plate_122
85 | calibration plate | H2 |  | nan |  |  | sample_None_15
86 | calibration plate | H3 |  | nan |  |  | sample_None_23
87 | calibration plate | H4 |  | nan |  |  | sample_None_31
88 | calibration plate | H5 |  | nan |  |  | sample_None_39
89 | calibration plate | H6 |  | nan |  |  | sample_None_47
90 | calibration plate | H7 |  | nan |  |  | sample_None_55
91 | calibration plate | H8 |  | nan |  |  | sample_None_63
92 | calibration plate | H9 |  | nan |  |  | sample_None_71
93 | calibration plate | H10 |  | nan |  |  | sample_None_79
94 | calibration plate | H11 |  | nan |  |  | sample_None_87
95 | calibration plate | H12 |  | nan |  |  | sample_None_95